## Summary
Species evaluation - every adduct is counted independently
| LDA MS1 identified |  | LB-10 MS1 identified |  | LDA MS1 PPV |  | LB-10 MS1 PPV |  | LDA MS2 identified |  | LB-10 MS2 identified |  | LDA MS2 PPV |  | LB-10 MS2 PPV
P-PC | no MS/MS
P-PE | no MS/MS
LPC | 6/6 | 100% | 0/6 | 0% | 6/7 | 85.71% | 0/0 | NA | NA | NA | NA | NA | NA | NA | NA | NA
LPE | 1/1 | 100% | 0/1 | 0% | 1/2 | 50% | 0/1 | 0% | NA | NA | NA | NA | NA | NA | NA | NA
PS | 0/1 | 0% | 1/1 | 100% | 0/0 | NA | 1/1 | 100% | 0/1 | 0% | 1/1 | 100% | 0/0 | NA | 1/3 | 33.33%
PC | 33/35 | 94.29% | 13/35 | 37.14% | 33/33 | 100% | 13/25 | 52% | 16/28 | 57.14% | 13/28 | 46.43% | 16/16 | 100% | 13/47 | 27.66%
PE | 6/7 | 85.71% | 7/7 | 100% | 6/6 | 100% | 7/9 | 77.78% | 4/7 | 57.14% | 6/7 | 85.71% | 4/4 | 100% | 6/16 | 37.5%
TG | 52/54 | 96.3% | 45/54 | 83.33% | 52/57 | 91.23% | 45/55 | 81.82% | 143/196 | 72.96% | 132/196 | 67.35% | 143/147 | 97.28% | 132/165 | 80%
SM | 8/11 | 72.73% | 3/11 | 27.27% | 8/8 | 100% | 3/9 | 33.33% | NA | NA | NA | NA | NA | NA | NA | NA
Total | 106/115 | 92.17% | 69/115 | 60% | 106/113 | 93.81% | 69/100 | 69% | 163/232 | 70.26% | 152/232 | 65.52% | 163/167 | 97.6% | 152/231 | 65.8%
Total w/o TG | 54/61 | 88.52% | 24/61 | 39.34% | 54/56 | 96.43% | 24/45 | 53.33% | 20/36 | 55.56% | 20/36 | 55.56% | 20/20 | 100% | 20/66 | 30.3%
Species evaluation - adduct insensitive
| LDA MS1 identified |  | LB-10 MS1 identified |  | LDA MS1 PPV |  | LB-10 MS1 PPV |  | LDA MS2 identified |  | LB-10 MS2 identified |  | LDA MS2 PPV |  | LB-10 MS2 PPV
P-PC | no MS/MS
P-PE | no MS/MS
LPC | 6/6 | 100% | 0/6 | 0% | 6/7 | 85.71% | 0/0 | NA | NA | NA | NA | NA | NA | NA | NA | NA
LPE | 1/1 | 100% | 0/1 | 0% | 1/2 | 50% | 0/1 | 0% | NA | NA | NA | NA | NA | NA | NA | NA
PS | 0/1 | 0% | 1/1 | 100% | 0/0 | NA | 1/1 | 100% | 0/1 | 0% | 1/1 | 100% | 0/0 | NA | 1/3 | 33.33%
PC | 23/23 | 100% | 12/23 | 52.17% | 23/23 | 100% | 12/24 | 50% | 14/23 | 60.87% | 12/23 | 52.17% | 14/14 | 100% | 12/46 | 26.09%
PE | 6/6 | 100% | 6/6 | 100% | 6/6 | 100% | 6/8 | 75% | 4/6 | 66.67% | 5/6 | 83.33% | 4/4 | 100% | 5/15 | 33.33%
TG | 41/43 | 95.35% | 39/43 | 90.7% | 41/46 | 89.13% | 39/47 | 82.98% | 135/183 | 73.77% | 124/183 | 67.76% | 135/139 | 97.12% | 124/156 | 79.49%
SM | 7/9 | 77.78% | 3/9 | 33.33% | 7/7 | 100% | 3/8 | 37.5% | NA | NA | NA | NA | NA | NA | NA | NA
Total | 84/89 | 94.38% | 61/89 | 68.54% | 84/91 | 92.31% | 61/89 | 68.54% | 153/213 | 71.83% | 142/213 | 66.67% | 153/157 | 97.45% | 142/220 | 64.55%
Total w/o TG | 43/46 | 93.48% | 22/46 | 47.83% | 43/45 | 95.56% | 22/42 | 52.38% | 18/30 | 60% | 18/30 | 60% | 18/18 | 100% | 18/64 | 28.12%

## P-PE
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 0 |  | Total number of identified species: |  |  | 0
Total number of identified LDA species: |  |  |  |  | 0 |  | Total number of identified LDA species: |  |  | 0
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 0 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 0 |  | False negatives LipidBlast: |  |  | 0
Sensitivity LDA: |  |  |  |  | NA |  | Sensitivity LDA: |  |  | NA
Sensitivity LipidBlast |  |  |  |  | NA |  | Sensitivity LipidBlast: |  |  | NA
Positive Predictive Value LDA: |  |  |  |  | NA |  | Positive Predictive Value LDA: |  |  | NA
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 0 |  | Total number of identified species: |  |  | 0
Total number of identified LDA species: |  |  |  |  | 0 |  | Total number of identified LDA species: |  |  | 0
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 0 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 0 |  | False negatives LipidBlast: |  |  | 0
Sensitivity LDA: |  |  |  |  | NA |  | Sensitivity LDA: |  |  | NA
Sensitivity LipidBlast |  |  |  |  | NA |  | Sensitivity LipidBlast: |  |  | NA
Positive Predictive Value LDA: |  |  |  |  | NA |  | Positive Predictive Value LDA: |  |  | NA
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## LPE
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore
LPE | 18:0 | H | 18:0 | not reported | 2 | -1 | 11.0 | 11.18
LPE | 20:3_FP | Na | not reported | 20:3 | 0 | -2 |  |  | 11.16058 | 50
LPE | 24:2_FP | Na | 24:2 | not reported | -2 | 0
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 1 |  | Total number of identified species: |  |  | 1
Total number of identified LDA species: |  |  |  |  | 1 |  | Total number of identified LDA species: |  |  | 1
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 1 |  | False positives LDA: |  |  | 1
False positives LipidBlast: |  |  |  |  | 1 |  | False positives LipidBlast: |  |  | 1
False negatives LDA: |  |  |  |  | 0 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 1 |  | False negatives LipidBlast: |  |  | 1
Sensitivity LDA: |  |  |  |  | 100% |  | Sensitivity LDA: |  |  | 100%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | 50% |  | Positive Predictive Value LDA: |  |  | 50%
Positive Predictive Value LipidBlast: |  |  |  |  | 0% |  | Positive Predictive Value LipidBlast: |  |  | 0%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## PS
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PS | 38:4 | H | not reported | 38:4 | -1 | 2 | 18:0/20:4 | not reported | 18:0/20:4 | -1 | 2 | 24.3 |  | 24.21078 | 1.1
[7 empty] | 16:0/22:4_FP | not reported | 16:0/22:4 | 0 | -2 |  |  | 24.21078 | 1.1
[7 empty] | 14:0/24:4_FP | not reported | 14:0/24:4 | 0 | -2 |  |  | 24.21078 | 1.1
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 1 |  | Total number of identified species: |  |  | 1
Total number of identified LDA species: |  |  |  |  | 0 |  | Total number of identified LDA species: |  |  | 0
Total number of identified LipidBlast species: |  |  |  |  | 1 |  | Total number of identified LipidBlast species: |  |  | 1
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 0 |  | False negatives LipidBlast: |  |  | 0
Sensitivity LDA: |  |  |  |  | 0% |  | Sensitivity LDA: |  |  | 0%
Sensitivity LipidBlast |  |  |  |  | 100% |  | Sensitivity LipidBlast: |  |  | 100%
Positive Predictive Value LDA: |  |  |  |  | NA |  | Positive Predictive Value LDA: |  |  | NA
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 1 |  | Total number of identified species: |  |  | 1
Total number of identified LDA species: |  |  |  |  | 0 |  | Total number of identified LDA species: |  |  | 0
Total number of identified LipidBlast species: |  |  |  |  | 1 |  | Total number of identified LipidBlast species: |  |  | 1
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 2 |  | False positives LipidBlast: |  |  | 2
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 0 |  | False negatives LipidBlast: |  |  | 0
Sensitivity LDA: |  |  |  |  | 0% |  | Sensitivity LDA: |  |  | 0%
Sensitivity LipidBlast |  |  |  |  | 100% |  | Sensitivity LipidBlast: |  |  | 100%
Positive Predictive Value LDA: |  |  |  |  | NA |  | Positive Predictive Value LDA: |  |  | NA
Positive Predictive Value LipidBlast: |  |  |  |  | 33.33% |  | Positive Predictive Value LipidBlast: |  |  | 33.33%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## PC
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PC | 31:0_noMS2 | Na | 31:0 | not reported | 0 | 0 | [5 empty] | 25.3 | 25.33 |  |  | not counted: only MS1 identification
PC | 32:0 | H | 32:0 | not reported | 2 | -1 | 16:0/16:0 | 16:0/16:0 | not reported | 2 | -1 | 26.3 | 26.30
PC | 32:0_noMS2 | Na | 32:0 | not reported | 0 | 0 | [5 empty] | 26.3 | 26.25 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 32:1_noMS2 | H | 32:1 | not reported | 0 | 0 | [5 empty] | 24.8 | 24.85 |  |  | not counted: only MS1 identification
PC | 32:2_noMS2 | H | 32:2 | not reported | 0 | 0 | [5 empty] | 23.6 | 23.60 |  |  | not counted: only MS1 identification
PC | 33:0_noMS2 | Na | 33:0 | not reported | 0 | 0 | [5 empty] | 27.1 | 27.08 |  |  | not counted: only MS1 identification
PC | 33:1_noMS2 | H | 33:1 | not reported | 0 | 0 | [5 empty] | 25.8 | 25.78 |  |  | not counted: only MS1 identification
PC | 33:2_noMS2 | H | 33:2 | not reported | 0 | 0 | [5 empty] | 24.3 | 24.39 |  |  | not counted: only MS1 identification
PC | 34:0 | H | 34:0 | not reported | 2 | -1 | [5 empty] | 28.1 | 28.17
PC | 34:1 | H | 34:1 | not reported | 2 | -1 | 16:0/18:1 | 16:0/18:1 | not reported | 2 | -1 | 26.5 | 26.55 |  |  |  |  | TRUE
PC | 34:1 | Na | not reported | 34:1 | -1 | 2 | 10:0/24:1_FP | not reported | 10:0/24:1 | 0 | -2 |  |  | 26.58043 | 2.4 | LDA: MS1 quantitation | TRUE
[7 empty] | 8:0/26:1_FP | not reported | 8:0/26:1 | 0 | -2 |  |  | 26.58043 | 2.4 | LB: whether any 10:0 nor any 24:1 fragments are present
[7 empty] | 12:0/22:1_FP | not reported | 12:0/22:1 | 0 | -2 |  |  | 26.58043 | 2.4 | LB: whether any 8:0 nor any 26:1 fragments are present
PC | 34:2 | H | 34:2 | not reported | 2 | -1 | 16:0/18:2 | 16:0/18:2 | not reported | 2 | -1 | 25.1 | 25.21 |  |  | LB: whether any 12:0 nor any 22:1 fragments are present |  | TRUE |  | TRUE
PC | 34:2 | Na | 34:2 | 34:2 | 2 | 2 | 16:0/18:2 | 16:0/18:2 | 16:0/18:2 | 2 | 2 | 25.1 | 25.21 | 25.12310 | 6.6 |  | TRUE |  | TRUE
[7 empty] | 8:0/26:2_FP | not reported | 8:0/26:2 | 0 | -2 |  |  | 25.34690 25.57282 | 1.4 | LB: whether any 8:0 nor any 26:1 fragments are present
[7 empty] | 17:1/17:1_FP | not reported | 17:1/17:1 | 0 | -2 |  |  | 25.34690 25.57282 | 4.9 | LB: no 17:1 fragments present
PC | 34:3 | H | 34:3 | not reported | 2 | -1 | 16:1/18:2 | 16:1/18:2 | not reported | 2 | -1 | 24.0 | 24.07
PC | 34:3_noMS2 | Na | 34:3 | not reported | 0 | 0 | [5 empty] | 24.0 | 24.07 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 34:4_noMS2 | H | 34:4 | not reported | 0 | 0 | [5 empty] | 23.3 | 23.44 |  |  | not counted: only MS1 identification
PC | 35:1_noMS2 | H | 35:1 | not reported | 0 | 0 | [5 empty] | 27.5 | 27.55 |  |  | not counted: only MS1 identification
PC | 35:1_noMS2 | Na | 35:1 | not reported | 0 | 0 | [5 empty] | 27.5 | 28.10 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 35:2 | H | 35:2 | not reported | 2 | -1 | 17:0/18:2 | 18:2_17:0 | not reported | 2 | -1 | 26.1 | 26.19
PC | 35:2_noMS2 | Na | 35:2 | not reported | 0 | 0 | [5 empty] | 26.1 | 26.44 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 35:3_noMS2 | H | 35:3 | not reported | 0 | 0 | [5 empty] | 24.8 | 24.78 |  |  | not counted: only MS1 identification
PC | 36:0_noMS2 | H | 36:0 | not reported | 0 | 0 | [5 empty] | 30.0 | 29.76 |  |  | not counted: only MS1 identification
PC | 36:1 | H | 36:1 | not reported | 2 | -1 | 18:0/18:1 | 18:0/18:1 | not reported | 2 | -1 | 28.5 | 28.50 |  |  |  |  | TRUE
PC | 36:1 | Na | not reported | 36:1 | -1 | 2 | 10:0/26:1_FP | not reported | 10:0/26:1 | 0 | -2 |  |  | 28.5320 28.80387 | 2.4 | LB: this spectrum is from PC38:4_H | TRUE
[7 empty] | 14:0/22:1_FP | not reported | 14:0/22:1 | 0 | -2 |  |  | 28.80387 | 2.4 | LB: this spectrum is from PC38:4_H
[7 empty] | 24:1/12:0 12:0/24:1_FP | not reported | 24:1/12:0 12:0/24:1 | 0 | -2 |  |  | 28.5320 28.80387 | 2.4 | LB: this spectrum is from PC38:4_H
PC | 36:2 | H | 36:2 | not reported | 2 | -1 | 18:0/18:2 | 18:0/18:2 | not reported | 2 | -1 | 27.1 | 27.14 |  |  |  |  | TRUE
PC | 36:2 | Na | 36:2 | 36:2 | 2 | 2 | 18:0/18:2 | 18:2/18:0 | not reported | 2 | -1 | 27.1 | 27.14 |  |  |  | TRUE |  | TRUE | TRUE
[7 empty] | 18:1/18:1 | not reported | 18:1/18:1 | -1 | 2 | 27.1 |  | 26.84830 27.11422 27.38763 27.99882 | 1.2 | LB: there are no 18:1 fragment, but it has been found on the high-res platform -> I count it as correct
PC | 36:3 | H | 36:3 | not reported | 2 | -1 | [5 empty] | 25.6 | 25.78 |  |  |  |  | TRUE
PC | 36:3 | Na | 36:3 | 36:3 | 2 | 1 | 16:0/20:3 | not reported | 16:0/20:3 20:3/16:0 | -1 | 1 | 25.6 |  | 24.87563 25.55108 25.75715 26.0373 24.87563 26.0373 | 1.7 | LB: spectra before 25.5min belong to PC38:6_H | TRUE
[7 empty] | 14:1/22:2_FP | not reported | 14:1/22:2 | 0 | -2 |  |  | 25.55108 25.75715 | 1 | LB: there are whether any 14:1 nor 22:2 fragments present
PC | 36:4 | H | 36:4 | 36:4 | 2 | 2 | 16:0/20:4 | 16:0/20:4 | 16:0/20:4 | 2 | 2 | 24.8 | 24.96 | 25.24290 | 5
[7 empty] | 18:2/18:2 | 18:2/18:2 | not reported | 2 | -1 | 24.1 | 24.32 | [6 empty] | TRUE
PC | 36:4 | Na | 36:4 | 36:4 | 2 | 2 | 16:0/20:4 | not reported | 16:0/20:4 | -1 | 2 | 24.8 |  | 24.92080 25.14248 | 2.2 | LDA: no NL_Carboxy_Head fragment found for 20:4 | TRUE | TRUE | TRUE | TRUE
[7 empty] | 18:2/18:2 | not reported | 18:2/18:2 | -1 | 2 | 24.1 |  | 24.35402 | 1.4 | LDA: there are no 18:2 fragments present, but species is there -> correct |  |  | TRUE
PC | 36:5 | H | 36:5 | not reported | 2 | -1 | [5 empty] | 23.0 | 24.00
PC | 36:6_noMS2 | H | 36:6 | not reported | 0 | 0 | [5 empty] | 23.8 | 23.03 |  |  | not counted: only MS1 identification
PC | 36:8_FP | Na | not reported | 36:8 | 0 | -2 | 18:4/18:4_FP | not reported | 18:4/18:4 | 0 | -2 |  |  | 25.13227 | 25 | LB: retention time impossible
PC | 37:1_noMS2 | H | 37:1 | not reported | 0 | 0 | [5 empty] | 29.1 | 28.73 29.44 |  |  | not counted: only MS1 identification
PC | 37:2_noMS2 | H | 37:2 | not reported | 0 | 0 | [5 empty] | 28.0 | 28.01 |  |  | not counted: only MS1 identification
PC | 37:3_noMS2 | H | 37:3 | not reported | 0 | 0 | [5 empty] | 26.5 | 26.50 |  |  | not counted: only MS1 identification |  | TRUE
PC | 37:3_noMS2 | Na | not reported | 37:3 | 0 | -2 | 17:0/20:3_FP | not reported | 17:0/20:3 | 0 | -2 |  |  | 24.94357 | 4.4 | LB: retention time impossible | TRUE
[7 empty] | 15:1/22:2_FP | not reported | 15:1/22:2 | 0 | -2 |  |  | 24.94357 | 4.4 | LB: retention time impossible
PC | 37:4 | H | 37:4 | not reported | 2 | -1 | [5 empty] | 25.8 | 25.92
PC | 37:4_noMS2 | Na | 37:4 | not reported | 0 | 0 | [5 empty] | 25.8 | 25.92 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 37:5_noMS2 | H | 37:5 | not reported | 0 | 0 | [5 empty] | 24.1 | 24.07 |  |  | not counted: only MS1 identification
PC | 38:2 | H | 38:2 | not reported | 2 | -1 | [5 empty] | 28.6 | 28.73 |  |  |  |  | TRUE
PC | 38:2 | Na | 38:2 | 38:2 | 2 | 2 | 12:0/26:2_FP | not reported | 12:0/26:2 | 0 | -2 |  |  | 29.41622 | 1 | LB: there are whether any 12:0 nor 26:2 fragments present | TRUE
PC | 38:3 | H | 38:3 | not reported | 2 | -1 | [5 empty] | 27.6 | 27.64 |  |  |  |  | TRUE
PC | 38:3 | Na | 38:3 | 38:3 | 2 | 1 | 18:0/20:3 | not reported | 18:0/20:3 | -1 | 2 | 27.6 |  | 26.94392 27.52703 27.73443 28.16053 | 1 | LDA: there are no 18:0 nor 20:3 fragments present, but species is there -> correct | TRUE
[7 empty] | 20:1/18:2 | not reported | 18:2/20:1 | -1 | -3 | 27.6 |  | 26.67208 | 2.1 | LB: spectra before 27.0min belong to PC40:6_H
[7 empty] | 16:1/22:2_FP | not reported | 16:1/22:2 | 0 | -2 |  |  | 26.94392 27.52703 27.73443 28.16053 | 1 | LB: whether any 16:1 nor any 22:2 fragments detectable
PC | 38:4 | H | 38:4 | not reported | 2 | -1 | [5 empty] | 26.6 | 26.66 |  |  |  |  | TRUE
PC | 38:4 | Na | 38:4 | 38:4 | 2 | 2 | 18:0/20:4 | not reported | 18:0/20:4 | -1 | 2 | 26.6 |  | 26.56162 26.79488 27.02702 27.26758 | 5.8 | LB: for 20:4, only the NL_Carboxy_Na fragment is detectable | TRUE
[7 empty] | 16:0/22:4 | not reported | 16:0/22:4 | -1 | 2 | 26.6 |  | 26.56162 27.02702 27.26758 | 1.1 | LDA: there are whether 16:0 nor 22:4 fragments present, but species is there
[7 empty] | 14:0/24:4_FP | not reported | 14:0/24:4 | 0 | -2 |  |  | 26.56162 27.02702 27.26758 | 1.1 | LB: there are whether 14:0 nor 24:4 fragments present
PC | 38:5 | H | 38:5 | not reported | 2 | -1 | 18:1/20:4 | 18:1/20:4 | not reported | 2 | -1 | 25.3 | 25.46 |  |  |  |  | TRUE |  | TRUE
PC | 38:5 | Na | 38:5 | 38:5 | 2 | 2 | 18:1/20:4 | not reported | 18:1/20:4 | -1 | 2 | 25.3 |  | 25.45418 | 1.6 | LDA: only 18:1 fragment detected | TRUE |  | TRUE
[7 empty] | 16:0/22:5 | not reported | 16:0/22:5 | -1 | 2 | 25.3 |  | 24.55398 | 1 | LDA: spectrum at 24.6min is not inside LDA peak borders
[7 empty] | 14:1/24:4_FP | not reported | 14:1/24:4 | 0 | -2 |  |  | 24.55398 | 1 | LB: there are whether 14:1 nor 24:4 fragments present
PC | 38:6 | H | 38:6 | not reported | 2 | -1 | [5 empty] | 24.6 | 24.64 |  |  |  |  | TRUE
PC | 38:6 | Na | 38:6 | 38:6 | 2 | 2 | 16:0/22:6 | not reported | 16:0/22:6 | -1 | 2 | 24.6 |  | 24.47352 24.72780 | 1.2 |  | TRUE
[7 empty] | 18:2/20:4 | not reported | 18:2/20:4 | -1 | 2 | 24.6 |  | 24.14963 | 2.2 | LDA: base peak cutoff
[7 empty] | 16:1/22:5_FP | not reported | 16:1/22:5 | 0 | -2 |  |  | 24.47352 24.72780 | 1.2 | LB: there are whether 16:1 nor 22:5 fragments present
PC | 38:7 | H | 38:7 | not reported | 2 | -1 | [5 empty] | 23.3 | 23.44
PC | 38:7_noMS2 | Na | 38:7 | not reported | 0 | 0 | [5 empty] | 23.3 | 23.44 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 38:8_FP | Na | not reported | 38:8 | 0 | -2 | 18:3/20:5_FP | not reported | 18:3/20:5 | 0 | -2 |  |  | 27.45440 27.67730 | 6.3 | LB: impossible retention time
[7 empty] | 18:4/20:4_FP | not reported | 18:4/20:4 | 0 | -2 |  |  | 27.45440 27.67730 | 6.3 | LB: impossible retention time
PC | 38:9_FP | Na | not reported | 38:9 | 0 | -2 | 20:5/18:4 18:4/20:5_FP | not reported | 20:5/18:4 18:4/20:5 | 0 | -2 |  |  | 25.63843 25.63843 | 25 | LB: impossible retention time
PC | 39:3_noMS2 | Na | not reported | 39:3 | 0 | -2 | 17:1/22:2_FP | not reported | 17:1/22:2 | 0 | -2 |  |  | 26.8148 27.0552 | 8.2 | LB: impossible retention time
[7 empty] | 17:2/22:1_FP | not reported | 17:2/22:1 | 0 | -2 |  |  | 26.8148 27.0552 | 8.2 | LB: impossible retention time
[7 empty] | 18:3/21:0_FP | not reported | 18:3/21:0 | 0 | -2 |  |  | 26.8148 27.0552 | 8.2 | LB: impossible retention time
PC | 39:4 | H | 39:4 | not reported | 2 | -1 | [5 empty] | 27.6 | 27.14
PC | 39:4_noMS2 | Na | not reported | 39:4 | 0 | -2 | 17:2/22:2_FP | not reported | 17:2/22:2 | 0 | -2 |  |  | 24.59447 | 7.8 | LB: impossible retention time | TRUE
PC | 39:5_noMS2 | Na | not reported | 39:5 | 0 | -2 | 17:0/22:5_FP | not reported | 17:0/22:5 | 0 | -2 |  |  | 24.74493 | 7.2 | LB: impossible retention time
[7 empty] | 15:1/24:4_FP | not reported | 15:1/24:4 | 0 | -2 |  |  | 24.74493 | 7.2 | LB: impossible retention time
PC | 39:6_noMS2 | Na | 39:6 | not reported | 0 | 0 | [5 empty] | 25.3 | 25.53 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 39:7_noMS2 | H | 39:7 | not reported | 0 | 0 | [5 empty] | 24.5 | 24.16 |  |  | not counted: only MS1 identification
PC | 40:3_noMS2 | H | 40:3 | not reported | 0 | 0 | [5 empty] | 28.8 | 28.96 |  |  | not counted: only MS1 identification
PC | 40:3_noMS2 | Na | 40:3 | not reported | 0 | 0 | [5 empty] | 28.8 | 29.37 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 40:4_noMS2 | H | 40:4 | not reported | 0 | 0 | [5 empty] | 28.1 | 28.10 |  |  | not counted: only MS1 identification
PC | 40:5_noMS2 | Na | 40:5 | not reported | 0 | 0 | [5 empty] | 27.3 | 27.42 |  |  | not counted: only MS1 identification
PC | 40:6 | H | 40:6 | not reported | 2 | -1 | 20:2/20:4 | 20:4_20:2 | not reported | 2 | -1 | 26.1 | 26.25 |  |  |  |  | TRUE
PC | 40:6 | Na | 40:6 | 40:6 | 2 | 2 | 18:0/22:6 | 22:6/18:0 | not reported | 2 | -1 | 26.1 | 26.25 |  |  |  | TRUE
[7 empty] | 20:3/20:3_FP | not reported | 20:3/20:3 | 0 | -2 |  |  | 26.1557 26.41880 | 5.4
PC | 40:7 | H | 40:7 | not reported | 2 | -1 | 18:1/22:6 | 18:1/22:6 | not reported | 2 | -1 | 24.8 | 24.85
PC | 40:7_noMS2 | Na | 40:7 | not reported | 0 | 0 | [5 empty] | 24.8 | 24.85 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 40:8 | H | 40:8 | not reported | 2 | -1 | 20:4/20:4 | 20:4/20:4 | not reported | 2 | -1 | 23.8 | 23.83
PC | 40:8_noMS2 | Na | 40:8 | not reported | 0 | 0 | [5 empty] | 23.8 | 23.92 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 40:9_noMS2 | H | 40:9 | not reported | 0 | 0 | [5 empty] | 22.8 | 22.94 |  |  | not counted: only MS1 identification |  | TRUE
PC | 40:9_noMS2 | Na | not reported | 40:9 | 0 | -2 | 18:3/22:6_FP | not reported | 18:3/22:6 | 0 | -2 |  |  | 26.64840 | 5.5 | LB: impossible retention time | TRUE
[7 empty] | 18:4/22:5_FP | not reported | 18:4/22:5 | 0 | -2 |  |  | 26.64840 | 5.5 | LB: impossible retention time
PC | 40:10_FP | Na | not reported | 40:10 | 0 | -2 | 20:5/20:5_FP | not reported | 20:5/20:5 | 0 | -2 |  |  | 26.5712 27.30620 | 34 | LB: impossible retention time
[7 empty] | 18:4/22:6_FP | not reported | 18:4/22:6 | 0 | -2 |  |  | 27.30620 | 16.5 | LB: impossible retention time
PC | 41:5_FP | Na | not reported | 41:5 | 0 | -2 | 17:1/24:4_FP | not reported | 17:1/24:4 | 0 | -2 |  |  | 26.22293 | 4 | LB: impossible retention time
PC | 42:7_noMS2 | H | 42:7 | not reported | 0 | 0 | [5 empty] | 26.5 | 26.39 |  |  | not counted: only MS1 identification
PC | 42:8_noMS2 | H | 42:8 | not reported | 0 | 0 | [5 empty] | 25.5 | 25.64 |  |  | not counted: only MS1 identification
PC | 42:9_noMS2 | H | 42:9 | not reported | 0 | 0 | [5 empty] | 24.1 | 24.16 |  |  | not counted: only MS1 identification
PC | 42:10 | H | 42:10 | not reported | 2 | -1 | [5 empty] | 23.3 | 23.53
PC | 44:12_noMS2 | H | 44:12 | not reported | 0 | 0 | [5 empty] | 23.0 | 23.28 |  |  | not counted: only MS1 identification
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 35 |  | Total number of identified species: |  |  | 23
Total number of identified LDA species: |  |  |  |  | 33 |  | Total number of identified LDA species: |  |  | 23
Total number of identified LipidBlast species: |  |  |  |  | 13 |  | Total number of identified LipidBlast species: |  |  | 12
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 12 |  | False positives LipidBlast: |  |  | 12
False negatives LDA: |  |  |  |  | 2 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 22 |  | False negatives LipidBlast: |  |  | 11
Sensitivity LDA: |  |  |  |  | 94.29% |  | Sensitivity LDA: |  |  | 100%
Sensitivity LipidBlast |  |  |  |  | 37.14% |  | Sensitivity LipidBlast: |  |  | 52.17%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 52% |  | Positive Predictive Value LipidBlast: |  |  | 50%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 28 |  | Total number of identified species: |  |  | 23
Total number of identified LDA species: |  |  |  |  | 16 |  | Total number of identified LDA species: |  |  | 14
Total number of identified LipidBlast species: |  |  |  |  | 13 |  | Total number of identified LipidBlast species: |  |  | 12
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 34 |  | False positives LipidBlast: |  |  | 34
False negatives LDA: |  |  |  |  | 12 |  | False negatives LDA: |  |  | 9
False negatives LipidBlast: |  |  |  |  | 15 |  | False negatives LipidBlast: |  |  | 11
Sensitivity LDA: |  |  |  |  | 57.14% |  | Sensitivity LDA: |  |  | 60.87%
Sensitivity LipidBlast |  |  |  |  | 46.43% |  | Sensitivity LipidBlast: |  |  | 52.17%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 27.66% |  | Positive Predictive Value LipidBlast: |  |  | 26.09%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## PE
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PE | 24:0 | H | 24:0 | 24:0 | 2 | 2 | 12:0/12:0 | 12:0/12:0 | 12:0/12:0 | 2 | 2 | 17.6 | 17.76 | 17.73977 | 6
[7 empty] | 3:0/21:0_FP | not reported | 3:0/21:0 | 0 | -2 |  |  | 17.73977 | 4.6 | LB: there are whether any 3:0 nor any 21:0 fragments detectable
[7 empty] | 2:0/22:0_FP | not reported | 2:0/22:0 | 0 | -2 |  |  | 17.73977 | 4.6 | LB: there are whether any 2:0 nor any 22:0 fragments detectable
PE | 26:3_FP | H | not reported | 26:3 | 0 | -2 | 6:0/20:3_FP | not reported | 6:0/20:3 | 0 | -2 |  |  | 17.82332 | 12.5 | LB: impossible retention time
[7 empty] | 8:0/18:3_FP | not reported | 8:0/18:3 | 0 | -2 |  |  | 17.82332 | 12.5 | LB: impossible retention time
PE | 34:1_noMS2 | H | 34:1 | not reported | 0 | 0 | [5 empty] | 26.3 | 26.25 |  |  | not counted: only MS1 identification
PE | 34:2_noMS2 | H | 34:2 | not reported | 0 | 0 | [5 empty] | 25.0 | 25.03 |  |  | not counted: only MS1 identification
PE | 34:3_noMS2 | H | 34:3 | not reported | 0 | 0 | [5 empty] | 23.6 | 23.69 |  |  | not counted: only MS1 identification
PE | 36:1_noMS2 | H | 36:1 | not reported | 0 | 0 | [5 empty] | 27.8 | 28.01 |  |  | not counted: only MS1 identification
PE | 36:2_noMS2 | H | 36:2 | not reported | 0 | 0 | [5 empty] | 26.8 | 26.60 |  |  | not counted: only MS1 identification
PE | 36:4_noMS2 | H | 36:4 | not reported | 0 | 0 | [5 empty] | 24.8 | 24.85 |  |  | not counted: only MS1 identification
PE | 36:5_noMS2 | H | 36:5 | not reported | 0 | 0 | [5 empty] | 23.5 | 23.53 |  |  | not counted: only MS1 identification
PE | 37:4_noMS2 | H | 37:4 | not reported | 0 | 0 | [5 empty] | 25.6 | 25.73 |  |  | not counted: only MS1 identification
PE | 37:6_noMS2 | H | 37:6 | not reported | 0 | 0 | [5 empty] | 23.3 | 23.53 |  |  | not counted: only MS1 identification
PE | 38:2_noMS2 | H | 38:2 | not reported | 0 | 0 | [5 empty] | 28.1 | 28.42 |  |  | not counted: only MS1 identification
PE | 38:4 | H | 38:4 | 38:4 | 2 | 2 | 18:0/20:4 | not reported | 18:0/20:4 | -1 | 2 | 26.5 |  | 26.45498 | 1.1 | LDA: no mandatory NL_Ket_Head fragment detected for 18:0
[7 empty] | 16:0/22:4_FP | not reported | 16:0/22:4 | 0 | -2 | 26.5 |  | 26.45498 | 1.1 | LB: there are whether any 16:0 nor any 22:4 fragments detectable
[7 empty] | 14:0/24:4_FP | not reported | 14:0/24:4 | 0 | -2 |  |  | 26.45498 | 1.1 | LB: there are whether 14:0 nor any 24:4 fragments detectable
PE | 38:5 | H | 38:5 | 38:5 | 2 | 2 | 16:0/22:5 | not reported | 16:0/22:5 | -1 | 2 | 25.3 |  | 25.25177 | 1 | LDA: there are whether 16:0 nor 22:5 fragments present, but species is there -> correct
[7 empty] | 14:1/24:4_FP | not reported | 14:1/24:4 | 0 | -2 |  |  | 25.25177 | 1 | LB: there are whether any 14:1 nor any 24:4 fragments detectable
PE | 38:6 | H | 38:6 | 38:6 | 2 | 2 | 16:0/22:6 | 16:0/22:6 | 16:0/22:6 | 2 | 2 | 24.3 | 24.44 | 24.06920 | 1.3
[7 empty] | 16:1/22:5_FP | not reported | 16:1/22:5 | 0 | -2 |  |  | 24.06920 24.32643 24.42393 | 10.2 | LB: there are whether 16:1 nor 22:5 fragments detectable
PE | 38:6 | Na | not reported | 38:6 | -1 | 2 | 16:0/22:6 | not reported | 22:6/16:0 16:0/22:6 | -1 | 2 | 24.3 |  | 24.40587 24.40587 | 3.5 | LDA: MS1 quantitation | TRUE | TRUE | TRUE | TRUE
PE | 38:7_noMS2 | H | 38:7 | not reported | 0 | 0 | [5 empty] | 23.1 | 23.19 |  |  | not counted: only MS1 identification
PE | 40:4_noMS2 | H | 40:4 | not reported | 0 | 0 | [5 empty] | 28.0 | 28.10 |  |  | not counted: only MS1 identification
PE | 40:5_noMS2 | H | 40:5 | not reported | 0 | 0 | [5 empty] | 27.1 | 27.14 |  |  | not counted: only MS1 identification
PE | 40:6 | H | 40:6 | 40:6 | 2 | 2 | 18:0_22:6 | 22:6_18:0 | not reported | 2 | -1 | 26.0 | 26.05
[7 empty] | 20:3/20:3_FP | not reported | 20:3/20:3 | 0 | -2 |  |  | 25.99910 | 1.2 | LB: there are no 20:3 fragments detectable
PE | 40:7 | H | 40:7 | 40:7 | 2 | 2 | 18:1/22:6 | 22:6_18:1 | 18:1/22:6 | 2 | 2 | 24.8 | 24.78 | 24.81130 | 5
PE | 40:9_noMS2 | H | not reported | 40:9 | 0 | -2 | 18:4/22:5_FP | not reported | 18:4/22:5 | 0 | -2 |  |  | 24.40587 | 2.8 | LB: impossible retention time
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 7 |  | Total number of identified species: |  |  | 6
Total number of identified LDA species: |  |  |  |  | 6 |  | Total number of identified LDA species: |  |  | 6
Total number of identified LipidBlast species: |  |  |  |  | 7 |  | Total number of identified LipidBlast species: |  |  | 6
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 2 |  | False positives LipidBlast: |  |  | 2
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 0 |  | False negatives LipidBlast: |  |  | 0
Sensitivity LDA: |  |  |  |  | 85.71% |  | Sensitivity LDA: |  |  | 100%
Sensitivity LipidBlast |  |  |  |  | 100% |  | Sensitivity LipidBlast: |  |  | 100%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 77.78% |  | Positive Predictive Value LipidBlast: |  |  | 75%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 7 |  | Total number of identified species: |  |  | 6
Total number of identified LDA species: |  |  |  |  | 4 |  | Total number of identified LDA species: |  |  | 4
Total number of identified LipidBlast species: |  |  |  |  | 6 |  | Total number of identified LipidBlast species: |  |  | 5
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 10 |  | False positives LipidBlast: |  |  | 10
False negatives LDA: |  |  |  |  | 3 |  | False negatives LDA: |  |  | 2
False negatives LipidBlast: |  |  |  |  | 1 |  | False negatives LipidBlast: |  |  | 1
Sensitivity LDA: |  |  |  |  | 57.14% |  | Sensitivity LDA: |  |  | 66.67%
Sensitivity LipidBlast |  |  |  |  | 85.71% |  | Sensitivity LipidBlast: |  |  | 83.33%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 37.5% |  | Positive Predictive Value LipidBlast: |  |  | 33.33%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## LPC
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore
LPC | 16:0 | H | 16:0 | not reported | 2 | -1 | 8.0 | 8.10
LPC | 17:0_noMS2 | H | 17:0 | not reported | 0 | 0 | 9.6 | 9.77 |  |  | not counted: only MS1 identification
LPC | 18:0 | H | 18:0 | not reported | 2 | -1 | 11.4 | 11.52
LPC | 18:1 | H | 18:1 | not reported | 2 | -1 | 9.0 | 8.35
LPC | 18:2 | H | 18:2 | not reported | 2 | -1 | 6.0 | 6.19 6.86
LPC | 20:4 | H | 20:4 | not reported | 2 | -1 | 6.0 | 6.28
LPC | 20:6_FP | H | 20:6 | not reported | -2 | 0 |  |  |  |  | LDA: impossible retention time
LPC | 22:6 | H | 22:6 | not reported | 2 | -1 | 6.0 | 6.11
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 6 |  | Total number of identified species: |  |  | 6
Total number of identified LDA species: |  |  |  |  | 6 |  | Total number of identified LDA species: |  |  | 6
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 1 |  | False positives LDA: |  |  | 1
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 0 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 6 |  | False negatives LipidBlast: |  |  | 6
Sensitivity LDA: |  |  |  |  | 100% |  | Sensitivity LDA: |  |  | 100%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | 85.71% |  | Positive Predictive Value LDA: |  |  | 85.71%
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## TG
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
TG | 36:0 | NH4 | 36:0 | not reported | 2 | -1 | 16:0_16:0_4:0 | 16:0_16:0_4:0 | not reported | 2 | -1 | 31.5 | 31.55
[7 empty] | 16:0_14:0_6:0 | 16:0_14:0_6:0 | not reported | 2 | -1 | 31.5 | 31.55
[7 empty] | 16:0_10:0_10:0 | 16:0_10:0_10:0 | not reported | 2 | -1 | 31.5 | 31.55
TG | 38:0 | Na | 38:0 | not reported | 2 | -1 | 16:0_16:0_6:0 | 16:0_16:0_6:0 | not reported | 2 | -1 | 32.3 | 32.35
TG | 40:0 | NH4 | 40:0 | 40:0 | 2 | 2 | 16:0_12:0_12:0 | 16:0_12:0_12:0 | 12:0/12:0/16:0 | 2 | 2 | 33.1 | 33.06 | 33.07827 | 97.2
[7 empty] | 16:0_14:0_10:0 | 16:0_14:0_10:0 | not reported | 2 | -1 | 33.1 | 33.06
[7 empty] | 16:0_16:0_8:0 | 16:0_16:0_8:0 | not reported | 2 | -1 | 33.1 | 33.06
[7 empty] | 18:0_16:0_6:0 | 18:0_16:0_6:0 | not reported | 2 | -1 | 33.1 | 33.06
TG | 42:0_noMS2 | Na | 42:0 | not reported | 0 | 0 | [5 empty] | 33.7 | 33.60 |  |  | not counted: only MS1 identification
TG | 42:1_noMS2 | NH4 | 42:1 | not reported | 0 | 0 | [5 empty] | 33.2 | 33.21 |  |  | not counted: only MS1 identification
TG | 42:4_FP | Na | 42:4 | not reported | -2 | 0
TG | 43:0_noMS2 | NH4 | 43:0 | not reported | 0 | 0 | [5 empty] | 34.0 | 34.03 |  |  | not counted: only MS1 identification
TG | 43:5_FP | Na | 43:5 | not reported | -2 | 0
TG | 44:0 | NH4 | 44:0 | not reported | 2 | -1 | 16:0_14:0_14:0 | 16:0_14:0_14:0 | not reported | 2 | -1 | 34.2 | 34.29
[7 empty] | 15:0_15:0_14:0 | 15:0_15:0_14:0 | not reported | 2 | -1 | 34.2 | 34.29
[7 empty] | 16:0_16:0_12:0 | 16:0_16:0_12:0 | not reported | 2 | -1 | 34.2 | 34.29
[7 empty] | 16:0_15:0_13:0 | 16:0_15:0_13:0 | not reported | 2 | -1 | 34.2 | 34.29
[7 empty] | 18:0_14:0_12:0 | 18:0_14:0_12:0 | not reported | 2 | -1 | 34.2 | 34.29
[7 empty] | 18:0_16:0_10:0 | 18:0_16:0_10:0 | not reported | 2 | -1 | 34.2 | 34.29
[7 empty] | 18:0_18:0_8:0 | 18:0_18:0_8:0 | not reported | 2 | -1 | 34.2 | 34.29
TG | 44:1_noMS2 | NH4 | 44:1 | not reported | 0 | 0 | [5 empty] | 33.7 | 33.77 |  |  | not counted: only MS1 identification
TG | 44:1_noMS2 | Na | 44:1 | not reported | 0 | 0 | [5 empty] | 33.7 | 33.77 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 45:1_noMS2 | Na | 45:1 | not reported | 0 | 0 | [5 empty] | 34.1 | 34.10 |  |  | not counted: only MS1 identification
TG | 46:2_noMS2 | NH4 | 46:2 | not reported | 0 | 0 | [5 empty] | 34.0 | 33.96 |  |  | not counted: only MS1 identification
TG | 48:0_noMS2 | NH4 | 48:0 | not reported | 0 | 0 | [5 empty] | 35.3 | 35.35 |  |  | not counted: only MS1 identification
TG | 48:0_noMS2 | Na | 48:0 | not reported | 0 | 0 | [5 empty] | 35.3 | 35.63 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 48:1_noMS2 | NH4 | 48:1 | not reported | 0 | 0 | [5 empty] | 35.0 | 34.93 |  |  | not counted: only MS1 identification
TG | 48:2_noMS2 | NH4 | 48:2 | not reported | 0 | 0 | [5 empty] | 34.5 | 34.46 |  |  | not counted: only MS1 identification
TG | 48:2_noMS2 | Na | 48:2 | not reported | 0 | 0 | [5 empty] | 34.5 | 34.53 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 48:3_noMS2 | NH4 | 48:3 | not reported | 0 | 0 | [5 empty] | 34.1 | 34.10 |  |  | not counted: only MS1 identification
TG | 48:6_FP | Na | 48:6 | not reported | -2 | 0 | [9 empty] | LDA: FP
TG | 49:0 | NH4 | 49:0 | 49:0 | 2 | 2 | 17:0_16:0_16:0 | 17:0_16:0_16:0 | 16:0/16:0/17:0 | 2 | 2 | 35.7 | 35.78 | 35.75397 | 100
[7 empty] | 18:0_16:0_15:0 | 18:0_16:0_15:0 | not reported | 2 | -1 | 35.7 | 35.78
[7 empty] | 18:0_17:0_14:0 | 18:0_17:0_14:0 | not reported | 2 | -1 | 35.7 | 35.78
[7 empty] | 17:0_17:0_15:0 | 17:0_17:0_15:0 | not reported | 2 | -1 | 35.7 | 35.78
[7 empty] | 19:0_16:0_14:0 | 19:0_16:0_14:0 | not reported | 2 | -1 | 35.7 | 35.78
TG | 49:0_noMS2 | Na | 49:0 | not reported | 0 | 0 | [5 empty] | 35.7 | 35.78 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 49:1_noMS2 | NH4 | 49:1 | not reported | 0 | 0 | [5 empty] | 35.2 | 35.20 |  |  | not counted: only MS1 identification
TG | 49:1_noMS2 | Na | 49:1 | not reported | 0 | 0 | [5 empty] | 35.2 | 35.28 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 49:2_noMS2 | Na | 49:2 | not reported | 0 | 0 | [5 empty] | 34.7 | 34.79 |  |  | not counted: only MS1 identification
TG | 50:0_noMS2 | NH4 | 50:0 | not reported | 0 | 0 | [5 empty] | 36.1 | 36.17 |  |  | not counted: only MS1 identification
TG | 50:0_noMS2 | Na | 50:0 | not reported | 0 | 0 | [5 empty] | 36.1 | 36.42 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 50:1_noMS2 | NH4 | 50:1 | not reported | 0 | 0 | [5 empty] | 35.3 | 35.42 |  |  | not counted: only MS1 identification
TG | 50:1_noMS2 | Na | 50:1 | not reported | 0 | 0 | [5 empty] | 35.3 | 35.63 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 50:2_noMS2 | NH4 | 50:2 | not reported | 0 | 0 | [5 empty] | 34.8 | 34.93 |  |  | not counted: only MS1 identification
TG | 50:2_noMS2 | Na | 50:2 | not reported | 0 | 0 | [5 empty] | 34.8 | 34.89 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 50:4_noMS2 | NH4 | 50:4 | not reported | 0 | 0 | [5 empty] | 33.8 | 33.84 |  |  | not counted: only MS1 identification
TG | 50:5_noMS2 | NH4 | 50:5 | not reported | 0 | 0 | [5 empty] | 33.3 | 32.97 |  |  | not counted: only MS1 identification
TG | 50:5_noMS2 | Na | 50:5 | not reported | 0 | 0 | [5 empty] | 33.3 | 33.29 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 51:0_noMS2 | NH4 | 51:0 | not reported | 0 | 0 | [5 empty] | 36.2 | 36.42 |  |  | not counted: only MS1 identification
TG | 51:1 | NH4 | 51:1 | 51:1 | 2 | 2 | 18:1_17:0_16:0 | 18:1_17:0_16:0 | 16:0/17:0/18:1 | 2 | 2 | 35.7 | 35.78 | 35.77112 | 97.9
[7 empty] | 19:1_16:0_16:0 | 19:1_16:0_16:0 | not reported | 2 | -1 | 35.7 | 35.78
[7 empty] | 18:1_18:0_15:0 | 18:1_18:0_15:0 | not reported | 2 | -1 | 35.7 | 35.78
[7 empty] | 18:0_17:1_16:0 | 18:0_17:1_16:0 | 16:0/17:1/18:0 | 2 | 2 | 35.7 | 35.78 | 35.77112 | 1.4
[7 empty] | 18:0_17:0_16:1 | not reported | 16:1/17:0/18:0 | -1 | 2 | 35.7 |  | 35.77112 | 0.3 | LDA: chain cutoff
[7 empty] | 19:0_16:1_16:0 | 19:0_16:1_16:0 | not reported | 2 | -1 | 35.7 | 35.78
[7 empty] | 20:1_16:0_15:0 | 20:1_16:0_15:0 | not reported | 2 | -1 | 35.7 | 35.78
TG | 51:1_noMS2 | Na | 51:1 | not reported | 0 | 0 | [5 empty] | 35.7 | 35.78 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 51:2 | NH4 | 51:2 | 51:2 | 2 | 2 | 18:1_18:1_15:0 | 18:1_18:1_15:0 | not reported | 2 | -1 | 35.2 | 35.20
[7 empty] | 18:1_17:1_16:0 | 18:1_17:1_16:0 | 16:0/17:1/18:1 | 2 | 2 | 35.2 | 35.20 | 35.24863 | 91.5
[7 empty] | 18:2_17:0_16:0 | not reported | 16:0/17:0/18:2 | -1 | 2 | 35.2 |  | 35.24863 | 0.2 | LDA: chain cutoff
[7 empty] | 18:1_17:0_16:1 | 18:1_17:0_16:1 | 16:1/17:0/18:1 | 2 | 2 | 35.2 | 35.20 | 35.24863 | 8.1
[7 empty] | 19:1_16:1_16:0 | 19:1_16:1_16:0 | not reported | 2 | -1 | 35.2 | 35.20
[7 empty] | 20:1_16:1_15:0 | 20:1_16:1_15:0 | not reported | 2 | -1 | 35.2 | 35.20
[7 empty] | 20:2_16:0_15:0 | 20:2_16:0_15:0 | not reported | 2 | -1 | 35.2 | 35.20
TG | 51:2_noMS2 | Na | 51:2 | not reported | 0 | 0 | [5 empty] | 35.2 | 35.28 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 51:3_noMS2 | NH4 | 51:3 | not reported | 0 | 0 | [5 empty] | 34.7 | 34.65 |  |  | not counted: only MS1 identification
TG | 51:3_noMS2 | Na | 51:3 | not reported | 0 | 0 | [5 empty] | 34.7 | 34.65 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 51:4_noMS2 | NH4 | 51:4 | not reported | 0 | 0 | [5 empty] | 34.1 | 34.17 |  |  | not counted: only MS1 identification
TG | 52:0 | NH4 | 52:0 | 52:0 | 2 | 2 | 18:0_18:0_16:0 | 18:0_18:0_16:0 | 16:0/18:0/18:0 | 2 | 2 | 36.7 | 36.75 | 36.9138 | 96.7
[7 empty] | 20:0_16:0_16:0 | 20:0_16:0_16:0 | 16:0/16:0/20:0 | 2 | 2 | 36.7 | 36.75 | 36.9138 | 1.8
[7 empty] | 24:0_16:0_12:0 | 24:0_16:0_12:0 | not reported | 2 | -1 | 36.7 | 36.75
[7 empty] | 22:0_16:0_14:0 | 22:0_16:0_14:0 | not reported | 2 | -1 | 36.7 | 36.75
[7 empty] | 19:0_17:0_16:0 | not reported | 16:0/17:0/19:0 | -1 | 2 | 36.7 |  | 36.9138 | 1.2 | LDA: chain cutoff
[7 empty] | 21:0_16:0_15:0 | 21:0_16:0_15:0 | not reported | 2 | -1 | 36.7 | 36.75
[7 empty] | 23:0_16:0_13:0 | 23:0_16:0_13:0 | not reported | 2 | -1 | 36.7 | 36.75
TG | 52:0_noMS2 | Na | 52:0 | not reported | 0 | 0 | [5 empty] | 36.7 | 36.75 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 52:1 | NH4 | 52:1 | 52:1 | 2 | 2 | 18:1_18:0_16:0 | 18:1_18:0_16:0 | 16:0/18:0/18:1 | 2 | 2 | 36.0 | 36.02 | 36.03977 | 98.2
[7 empty] | 20:1_16:0_16:0 | 20:1_16:0_16:0 | 16:0/16:0/20:1 | 2 | 2 | 36.0 | 36.02 | 36.03977 | 1
[7 empty] | 17:0_17:0_18:1 | not reported | 17:0/17:0/18:1 | -1 | 2 | 36.0 |  | 36.03977 | 0.3 | LDA: chain cutoff
TG | 52:1_noMS2 | Na | 52:1 | not reported | 0 | 0 | [5 empty] | 36.0 | 36.02 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 52:2 | NH4 | 52:2 | 52:2 | 2 | 2 | 18:1_18:1_16:0 | 18:1_18:1_16:0 | 16:0/18:1/18:1 | 2 | 2 | 35.5 | 35.42 | 35.37708 | 16.4
[7 empty] | 18:2_18:0_16:0 | 18:2_18:0_16:0 | 16:0/18:0/18:2 | 2 | 2 | 35.5 | 35.42 | 35.37708 35.58282 | 82.3
[7 empty] | 18:1_18:0_16:1 | 18:1_18:0_16:1 | 16:1/18:0/18:1 | 2 | 2 | 35.5 | 35.42 | 35.37708 35.58282 | 83.9
[7 empty] | 20:1_16:1_16:0 | not reported | 16:0/16:1/20:1 | -1 | 2 | 35.5 |  | 35.58282 | 11.7 | LDA: chain cutoff
[7 empty] | 20:2_16:0_16:0 | 20:2_16:0_16:0 | not reported | 2 | -1 | 35.5 | 35.42
TG | 52:2 | Na | 52:2 | 52:2 | 2 | 2 | 18:1_18:1_16:0 | 18:1_18:1_16:0 | 16:0/18:1/18:1 | 2 | 2 | 35.5 | 35.42 | 35.50387 | 31.4 |  | TRUE | TRUE | TRUE | TRUE
TG | 52:3 | NH4 | 52:3 | 52:3 | 2 | 2 | 18:2_18:1_16:0 | 18:2_18:1_16:0 | 16:0/18:1/18:2 | 2 | 2 | 34.8 | 34.89 | 34.89502 | 97.9
[7 empty] | 18:1_18:1_16:1 | 18:1_18:1_16:1 | 16:1/18:1/18:1 | 2 | 2 | 34.8 | 34.89 | 34.89502 | 1
[7 empty] | 16:0/16:1/20:2_FP | not reported | 16:0/16:1/20:2 | 0 | -2 |  |  | 34.89502 | 0.4 | LB: there is no 20:2 fragment detectable
TG | 52:3_noMS2 | Na | 52:3 | not reported | 0 | 0 | [5 empty] | 34.8 | 34.89 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 52:4 | NH4 | 52:4 | 52:4 | 2 | 2 | 18:2_18:2_16:0 | 18:2_18:2_16:0 | 16:0/18:2/18:2 | 2 | 2 | 34.3 | 34.42 | 34.37092 | 96.7
[7 empty] | 18:3_18:1_16:0 | 18:3_18:1_16:0 | 16:0/18:1/18:3 | 2 | 2 | 34.3 | 34.42 | 34.37092 | 1
[7 empty] | 16:0/16:1/20:3_FP | not reported | 16:0/16:1/20:3 | 0 | -2 |  |  | 34.37092 | 1 | LB: there is no 20:3 fragment detectable
TG | 52:4_noMS2 | Na | 52:4 | not reported | 0 | 0 | [5 empty] | 34.3 | 34.42 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 52:5 | NH4 | 52:5 | 52:5 | 2 | 2 | 18:3_18:2_16:0 | 18:3_18:2_16:0 | 16:0/18:2/18:3 | 2 | 2 | 34.0 | 33.96 | 34.04145 | 96.3
[7 empty] | 18:2_18:2_16:1 | not reported | 16:1/18:2/18:2 | -1 | 2 | 34.0 |  | 34.04145 | 0.3
[7 empty] | 18:3_18:1_16:1 | 18:3_18:1_16:1 | 16:1/18:1/18:3 | 2 | 2 | 34.0 | 33.96 | 34.04145 | 3.4
[7 empty] | 18:4_18:1_16:0 | 18:4_18:1_16:0 | not reported | 2 | -1 | 34.0 | 33.96
TG | 52:5_noMS2 | Na | 52:5 | not reported | 0 | 0 | [5 empty] | 34.0 | 34.03 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 52:6 | NH4 | 52:6 | 52:6 | 2 | 2 | 18:3_18:3_16:0 | 18:3_18:3_16:0 | 16:0/18:3/18:3 | 2 | 2 | 33.5 | 33.52 | 33.55618 | 7.2
[7 empty] | 18:4_18:2_16:0 | 18:4_18:2_16:0 | not reported | 2 | -1 | 33.5 | 33.52
[7 empty] | 18:3_18:2_16:1 | 18:3_18:2_16:1 | 16:1/18:2/18:3 | 2 | 2 | 33.5 | 33.52 | 33.55618 | 92.2
[7 empty] | 20:5_16:1_16:0 | not reported | 16:0/16:1/20:5 | -1 | 2 | 33.5 |  | 33.55618 | 0.6 | LDA: there is no 20:5 fragment present, but since it has been found in another sample, I count it as correct
TG | 52:6_noMS2 | Na | 52:6 | not reported | 0 | 0 | [5 empty] | 33.5 | 33.52 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 53:1_noMS2 | NH4 | 53:1 | not reported | 0 | 0 | [5 empty] | 36.3 | 36.42 |  |  | not counted: only MS1 identification |  | TRUE
TG | 53:1_FP | Na | not reported | 53:1 | 0 | -2 | 16:0/18:1/19:0_FP | not reported | 16:0/18:1/19:0 | 0 | -2 |  |  | 33.99895 | 15.3 | LB: wrong RT | TRUE
TG | 53:2 | NH4 | 53:2 | 53:2 | 2 | 2 | 18:1_18:1_17:0 | 18:1_18:1_17:0 | 17:0/18:1/18:1 | 2 | 2 | 35.7 | 35.78 | 35.80357 | 94.4
[7 empty] | 19:1_18:1_16:0 | 19:1_18:1_16:0 | not reported | 2 | -1 | 35.7 | 35.78
[7 empty] | 18:1_18:0_17:1 | 18:1_18:0_17:1 | 17:1/18:0/18:1 | 2 | 2 | 35.7 | 35.78 | 35.80357 | 2.5
[7 empty] | 20:2_17:0_16:0 | not reported | 16:0/17:0/20:2 | -1 | 2 | 35.7 |  | 35.80357 | 2.4 | LDA: chain cutoff
TG | 53:2 | Na | 53:2 | not reported | 2 | -1 | [5 empty] | 35.7 | 35.78 |  |  |  | TRUE | TRUE
TG | 53:3 | NH4 | 53:3 | 53:3 | 2 | 2 | 18:2_18:1_17:0 | 18:2_18:1_17:0 | 17:0/18:1/18:2 | 2 | 2 | 35.2 | 35.20 | 35.23148 | 21.9
[7 empty] | 18:1_18:1_17:1 | 18:1_18:1_17:1 | 17:1/18:1/18:1 | 2 | 2 | 35.2 | 35.20 | 35.23148 | 77.3
[7 empty] | 18:2_18:0_17:1 | not reported | 17:1/18:0/18:2 | -1 | 2 | 35.2 |  | 35.23148 | 0.6 | LDA: chain cutoff
[7 empty] | 19:2_18:1_16:0_FP | 19:2_18:1_16:0 |  | -2 | 0 |  | 35.20 |  |  | LDA: this looks an isotopic peak of a present peak at m/z 575.4; thus, I regard it as FP
TG | 53:3_noMS2 | Na | 53:3 | not reported | 0 | 0 | [5 empty] | 35.2 | 35.20 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 53:4_noMS2 | NH4 | 53:4 | not reported | 0 | 0 | [5 empty] | 34.7 | 34.65 |  |  | not counted: only MS1 identification
TG | 53:4_noMS2 | Na | 53:4 | not reported | 0 | 0 | [5 empty] | 34.7 | 34.71 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 53:5_noMS2 | NH4 | 53:5 | not reported | 0 | 0 | [5 empty] | 34.2 | 34.22 |  |  | not counted: only MS1 identification
TG | 54:0_noMS2 | NH4 | 54:0 | not reported | 0 | 0 | [5 empty] | 37.5 | 37.59 |  |  | not counted: only MS1 identification
TG | 54:1 | NH4 | 54:1 | 54:1 | 2 | 2 | 18:1_18:0_18:0 | 18:1_18:0_18:0 | 18:0/18:0/18:1 | 2 | 2 | 36.7 | 36.75 | 36.72878 | 94.4
[7 empty] | 20:0_18:0_16:1 | not reported | 16:1/18:0/20:0 | -1 | 2 | 36.7 |  | 36.72878 | 2.5 | LDA: chain cutoff
[7 empty] | 20:0_18:1_16:0 | not reported | 16:0/18:1/20:0 | -1 | 2 | 36.7 |  | 36.72878 | 1.6 | LDA: chain cutoff
TG | 54:1_noMS2 | Na | 54:1 | not reported | 0 | 0 | [5 empty] | 36.7 | 36.75 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 54:2 | NH4 | 54:2 | 54:2 | 2 | 2 | 18:1_18:1_18:0 | 18:1_18:1_18:0 | 18:0/18:1/18:1 | 2 | 2 | 36.0 | 36.09 | 36.00762 | 49.9
[7 empty] | 20:1_18:1_16:0 | 20:1_18:1_16:0 | 16:0/18:1/20:1 | 2 | 2 | 36.0 | 36.09 | 36.00762 | 48
[7 empty] | 18:2_18:0_18:0 | 18:2_18:0_18:0 | not reported | 2 | -1 | 36.0 | 36.09
[7 empty] | 20:2_18:0_16:0 | not reported | 16:0/18:0/20:2 | -1 | 2 | 36.0 |  | 36.00762 | 1 | LDA: chain cutoff
TG | 54:3 | NH4 | 54:3 | 54:3 | 2 | 1 | 18:1/18:1/18:1 | 18:1/18:1/18:1 | 18:1/18:1/18:1 | 2 | 1 | 35.5 | 35.49 | 34.98113 35.44637 35.66337 | 5.8 | LB: the spectrum at 35.0min belongs to the second isotopic peak of 54:4
[7 empty] | 18:2_18:1_18:0 | 18:2_18:1_18:0 | 18:0/18:1/18:2 | 2 | 1 | 35.5 | 35.49 | 34.98113 35.44637 35.66337 42.16622 | 98.5 | LB: the spectrum at 35.0min belongs to the second isotopic peak of 54:4
[7 empty] | 20:2_18:1_16:0 | not reported | 16:0/18:1/20:2 | -1 | 1 | 35.5 |  | 35.66337 42.16622 | 84.7 | LB: the spectrum at 42.1min is not a TG_NH4 spectrum; LDA: chain cutoff
[7 empty] | 20:1_18:2_16:0 | 20:1_18:2_16:0 | 16:0/18:2/20:1 | 2 | 1 | 35.5 | 35.49 | 35.44637 42.16622 | 2.9 | LB: the spectrum at 42.1min is not a TG_NH4 spectrum
TG | 54:3 | Na | 54:3 | not reported | 2 | -1 | 18:1/18:1/18:1 | 18:1/18:1/18:1 | not reported | 2 | -1 | 35.5 | 35.49 |  |  |  | TRUE | TRUE | TRUE | TRUE
TG | 54:4 | NH4 | 54:4 | 54:4 | 2 | 1 | 18:2_18:1_18:1 | 18:2_18:1_18:1 | 18:1/18:1/18:2 | 2 | 1 | 34.8 | 34.93 | 34.50575 34.92538 35.26578 | 97.6 | LB: the spectrum at 34.5 belongs to the second isotopic peak of 54:5
[7 empty] | 20:3_18:1_16:0 | not reported | 16:0/18:1/20:3 | -1 | 1 | 34.8 |  | 34.50575 34.92538 35.26578 | 11.8 | LB: the spectrum at 34.5 belongs to the second isotopic peak of 54:5; LDA: chain cutoff
[7 empty] | 18:3_18:1_18:0 | 18:3_18:1_18:0 | not reported | 2 | -1 | 34.8 | 34.93
[7 empty] | 18:2_18:2_18:0 | 18:2_18:2_18:0 | not reported | 2 | -1 | 34.8 | 34.93
[7 empty] | 20:2_18:2_16:0 | not reported | 16:0/18:2/20:2 | -1 | 1 | 34.8 |  | 34.50575 34.92538 | 4.2 | LB: the spectrum at 34.5 belongs to the second isotopic peak of 54:5; LDA: chain cutoff
[7 empty] | 20:2_18:1_16:1 | not reported | 16:1/18:1/20:2 | -1 | 2 | 34.8 |  | 35.26578 | 3.6
TG | 54:4 | Na | 54:4 | not reported | 2 | -1 | [5 empty] | 34.8 | 35.00 |  |  |  | TRUE | TRUE
TG | 54:5 | NH4 | 54:5 | 54:5 | 2 | 2 | 18:2_18:2_18:1 | 18:2_18:2_18:1 | 18:1/18:2/18:2 | 2 | 2 | 34.5 | 34.46 | 34.4243 | 98.2
[7 empty] | 18:3_18:1_18:1 | 18:3_18:1_18:1 | 18:1/18:1/18:3 | 2 | 2 | 34.5 | 34.46 | 34.4243 | 0.3
[7 empty] | 20:3_18:1_16:1 | not reported | 16:1/18:1/20:3 | -1 | 2 | 34.5 |  | 34.67490 | 0.5 | LDA: chain cutoff
[7 empty] | 20:3_18:2_16:0 | not reported | 16:0/18:2/20:3 | -1 | 2 | 34.5 |  | 34.67490 | 1.7 | LDA: chain cutoff |  |  | TRUE
[7 empty] | 18:3_18:2_18:0 | not reported | 18:0/18:2/18:3 | -1 | 2 | 34.5 |  | 34.4243 | 1.3 | LDA: chain cutoff
[7 empty] | 20:4_18:1_16:0 | 20:4_18:1_16:0 | 16:0/18:1/20:4 | 2 | 2 | 34.5 | 34.46 | 34.67490 | 97.8
TG | 54:5 | Na | 54:5 | 54:5 | 2 | 1 | 18:2_18:2_18:1 | 18:2_18:2_18:1 | 18:1/18:2/18:2 | 2 | 2 | 34.5 | 34.46 | 34.48112 | 100 |  | TRUE | TRUE | TRUE | TRUE
[7 empty] | 20:3_18:2_16:0 | 20:3_18:2_16:0 | not reported | 2 | -1 | 34.5 | 34.46 | [6 empty] | TRUE
[7 empty] | 20:4_18:1_16:0 | 20:4_18:1_16:0 | 16:0/18:1/20:4 | 2 | 2 | 34.5 | 34.46 | 34.70623 | 98.9 |  |  |  | TRUE | TRUE
[7 empty] | 22:5_16:0_16:0_FP | not reported | 16:0/16:0/22:5 | 0 | -2 | 34.5 |  | 34.70623 | 0.1 | LB: there is no 22:5 fragment detectable
[7 empty] | 17:0/17:0/20:5_FP | not reported | 17:0/17:0/20:5 | 0 | -2 |  |  | 35.47108 | 52 | LB: the spectrum at 35.47 is not a TG_NH4 spectrum
[7 empty] | 16:0/18:0/20:5_FP | not reported | 16:0/18:0/20:5 | 0 | -2 |  |  | 35.47108 | 48 | LB: the spectrum at 35.47 is not a TG_NH4 spectrum
TG | 54:6 | NH4 | 54:6 | 54:6 | 2 | 2 | 18:3_18:2_18:1 | not reported | 18:1/18:2/18:3 | -1 | 2 | 34.1 |  | 33.9768 | 91.2 | LDA: chain cutoff |  |  | TRUE
[7 empty] | 20:4_18:2_16:0 | 20:4_18:2_16:0 | 16:0/18:2/20:4 | 2 | 2 | 34.1 | 34.10 | 33.9768 34.17813 | 99
[7 empty] | 18:2/18:2/18:2 | 18:2/18:2/18:2 | 18:2/18:2/18:2 | 2 | 2 | 34.1 | 34.10 | 33.9768 | 6.4
[7 empty] | 20:4_18:1_16:1 | 20:4_18:1_16:1 | not reported | 2 | -1 | 34.1 | 34.10
[7 empty] | 22:5_16:1_16:0 | 22:5_16:1_16:0 | not reported | 2 | -1 | 34.1 | 34.10
[7 empty] | 20:3_18:3_16:0 | not reported | 16:0/18:3/20:3 | -1 | 2 | 34.1 |  | 34.17813 | 1 | LDA: chain cutoff
TG | 54:6 | Na | 54:6 | 54:6 | 2 | 2 | 18:3_18:2_18:1 | 18:3_18:2_18:1 | 18:1/18:2/18:3 | 2 | 2 | 34.1 | 34.03 | 34.01168 | 98.7 |  | TRUE | TRUE |  | TRUE
[7 empty] | 20:5_18:1_16:0_FP | not reported | 16:0/18:1/20:5 | 0 | -2 | 34.1 |  | 34.01168 | 0.1 | LB: there is whether a 16:0 nor a 20:5 fragment detectable
TG | 54:7 | NH4 | 54:7 | 54:7 | 2 | 2 | 18:3_18:2_18:2 | 18:3_18:2_18:2 | 18:2/18:2/18:3 | 2 | 2 | 33.5 | 33.60 | 33.45658 | 97.6
[7 empty] | 18:3_18:3_18:1 | 18:3_18:3_18:1 | 18:1/18:3/18:3 | 2 | 2 | 33.5 | 33.60 | 33.45658 | 0.9
[7 empty] | 20:4_18:3_16:0 | not reported | 16:0/18:3/20:4 | -1 | 2 | 33.5 |  | 33.45658 | 1 | LDA: chain cutoff
TG | 54:7_noMS2 | Na | 54:7 | not reported | 0 | 0 | [5 empty] | 33.5 | 33.60 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 54:8 | NH4 | 54:8 | not reported | 2 | -1 | 22:6_18:2_14:0 | 22:6_18:2_14:0 | not reported | 2 | -1 | 33.2 | 33.29
[7 empty] | 22:6_16:1_16:1 | 22:6_16:1_16:1 | not reported | 2 | -1 | 33.2 | 33.29
TG | 55:2 | NH4 | not reported | 55:2 | -1 | 2 | 19:0_18:1_18:1 | not reported | 18:1/18:1/19:0 | -1 | 2 | 36.3 |  | 36.3932 | 76.4 | LDA: removed by MS1: +1 isotopic peak is too strong
[7 empty] | 20:1_18:1_17:0 | not reported | 17:0/18:1/20:1 | -1 | 2 | 36.3 |  | 36.3932 | 20.4 | LDA: removed by MS1: +1 isotopic peak is too strong
[7 empty] | 20:1_19:0_16:1 | not reported | 16:1/19:0/20:1 | -1 | 2 | 36.3 |  | 36.3932 | 1.4 | LDA: removed by MS1: +1 isotopic peak is too strong
TG | 55:3_noMS2 | NH4 | 55:3 | not reported | 0 | 0 | [5 empty] | 35.7 | 35.71 |  |  | not counted: only MS1 identification
TG | 55:4_noMS2 | NH4 | 55:4 | not reported | 0 | 0 | [5 empty] | 35.1 | 35.20 |  |  | not counted: only MS1 identification
TG | 55:5_noMS2 | NH4 | 55:5 | not reported | 0 | 0 | [5 empty] | 34.7 | 34.71 |  |  | not counted: only MS1 identification
TG | 55:7_FP | NH4 | not reported | 55:7 | 0 | -2 | 16:0/17:2/22:5_FP | not reported | 16:0/17:2/22:5 | 0 | -2 |  |  | 35.61392 | 100 | LB: wrong RT
TG | 55:8_FP | NH4 | not reported | 55:8 | 0 | -2 | 16:0/17:2/22:6_FP | not reported | 16:0/17:2/22:6 | 0 | -2 |  |  | 35.02390 | 20 | LB: wrong RT
[7 empty] | 17:2/18:1/20:5_FP | not reported | 17:2/18:1/20:5 | 0 | -2 |  |  | 35.02390 | 20 | LB: wrong RT
[7 empty] | 16:1/17:2/22:5_FP | not reported | 16:1/17:2/22:5 | 0 | -2 |  |  | 35.02390 | 20 | LB: wrong RT
TG | 56:1 | NH4 | 56:1 | 56:1 | 2 | 2 | 24:0_16:1_16:0 | 24:0_16:1_16:0 | not reported | 2 | -1 | 37.3 | 37.67
[7 empty] | 25:0_16:1_15:0 | 25:0_16:1_15:0 | not reported | 2 | -1 | 37.3 | 37.67
[7 empty] | 22:0_18:1_16:0_FP | not reported | 16:0/18:1/22:0 | 0 | -2 | 37.3 |  | 37.72832 | 64.3 | LB: there is no 22:0 fragment present
[7 empty] | 26:0_16:1_14:0 | 26:0_16:1_14:0 | not reported | 2 | -1 | 37.3 | 37.67
[7 empty] | 20:0_18:1_18:0_FP | not reported | 18:0/18:1/20:0 | 0 | -2 | 37.3 |  | 37.72832 | 17.9 | LB: there is no 20:0 fragment present
[7 empty] | 22:1_18:0_16:0_FP | not reported | 16:0/18:0/22:1 | 0 | -2 | 37.3 |  | 37.72832 | 17.9 | LB: there is no 22:1 fragment present
TG | 56:1_noMS2 | Na | 56:1 | not reported | 0 | 0 | [5 empty] | 37.3 | 37.59 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 56:2_noMS2 | NH4 | 56:2 | not reported | 0 | 0 | [5 empty] | 36.7 | 36.75 |  |  | not counted: only MS1 identification
TG | 56:2_noMS2 | Na | 56:2 | not reported | 0 | 0 | [5 empty] | 36.7 | 36.75 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 56:3 | NH4 | 56:3 | 56:3 | 2 | 2 | 20:1_18:1_18:1 | 20:1_18:1_18:1 | 18:1/18:1/20:1 | 2 | 2 | 36.0 | 36.09 | 36.11103 | 97.5
[7 empty] | 20:2_18:1_18:0 | not reported | 18:0/18:1/20:2 | -1 | 2 | 36.0 |  | 36.11103 | 1 | LDA: chain cutoff
[7 empty] | 20:0_18:2_18:1 | not reported | 18:1/18:2/20:0 | -1 | 2 | 36.0 |  | 36.11103 | 0.7 | LDA: chain cutoff
TG | 56:3_noMS2 | Na | 56:3 | not reported | 0 | 0 | [5 empty] | 36.0 | 36.09 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 56:4 | NH4 | 56:4 | 56:4 | 2 | 2 | 20:1_18:2_18:1 | 20:1_18:2_18:1 | 18:1/18:2/20:1 | 2 | 2 | 35.5 | 35.49 | 35.52113 | 39.5
[7 empty] | 20:2_18:1_18:1 | 20:2_18:1_18:1 | not reported | 2 | -1 | 35.5 | 35.49
[7 empty] | 20:3_18:1_18:0 | 20:3_18:1_18:0 | 18:0/18:1/20:3 | 2 | 2 | 35.5 | 35.49 | 35.52113 | 57.5
[7 empty] | 20:3_20:1_16:0 | 20:3_20:1_16:0 | not reported | 2 | -1 | 35.5 | 35.49
[7 empty] | 20:2_18:2_18:0 | 20:2_18:2_18:0 | 18:0/18:2/20:2 | 2 | 2 | 35.5 | 35.49 | 35.52113 | 2.1
TG | 56:4_noMS2 | Na | 56:4 | not reported | 0 | 0 | [5 empty] | 35.5 | 35.49 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 56:5 | NH4 | 56:5 | 56:5 | 2 | 1 | 20:2_18:2_18:1 | not reported | 18:1/18:2/20:2 | -1 | 2 | 35.0 |  | 34.9687 | 20.2 | LDA: chain cutoff
[7 empty] | 20:3_18:1_18:1 | 20:3_18:1_18:1 | 18:1/18:1/20:3 | 2 | 1 | 35.0 | 35.11 | 34.77060 34.9687 35.21428 | 4.3 | LB: the spectrum at 34.77 belongs to the second isotopic peak of 56:6
[7 empty] | 20:4_18:1_18:0 | 20:4_18:1_18:0 | 18:0/18:1/20:4 | 2 | 1 | 35.0 | 35.11 | 34.77060 35.21428 | 97.9 | LB: the spectrum at 34.77 belongs to the second isotopic peak of 56:6
[7 empty] | 20:4_20:1_16:0 | 20:4_20:1_16:0 | 16:0/20:1/20:4 | 2 | 2 | 35.0 | 35.11 | 35.21428 | 0.7
[7 empty] | 20:3_18:2_18:0 | 20:3_18:2_18:0 | 18:0/18:2/20:3 | 2 | 1 | 35.0 | 35.11 | 34.77060 34.9687 | 75.5 | LB: the spectrum at 34.77 belongs to the second isotopic peak of 56:6; LDA: chain cutoff
TG | 56:5 | Na | 56:5 | 56:5 | 2 | -3 | 20:4_18:1_18:0 | 20:4_18:1_18:0 | not reported | 2 | -1 | 35.0 | 35.11 |  |  |  | TRUE | TRUE | TRUE | TRUE
[7 empty] | 17:0/19:0/20:5_FP | not reported | 17:0/19:0/20:5 | 0 | -2 |  |  | 36.14325 | 7.2 | LB: the peak at 36.1min is not a TG_Na peak
TG | 56:6 | NH4 | 56:6 | 56:6 | 2 | 1 | 22:5_18:1_16:0 | 22:5_18:1_16:0 | 16:0/18:1/22:5 | 2 | 2 | 34.6 | 34.60 | 34.54787 | 2.5
[7 empty] | 20:4_18:1_18:1 | 20:4_18:1_18:1 | 18:1/18:1/20:4 | 2 | 2 | 34.6 | 34.60 | 34.7362 | 92.4
[7 empty] | 22:4_18:2_16:0 | 22:4_18:2_16:0 | 16:0/18:2/22:4 | 2 | 2 | 34.6 | 34.60 | 34.54787 | 73.9
[7 empty] | 20:4_18:2_18:0 | 20:4_18:2_18:0 | 18:0/18:2/20:4 | 2 | 2 | 34.6 | 34.60 | 34.7362 | 5.5
[7 empty] | 20:4_20:2_16:0 | 20:4_20:2_16:0 | not reported | 2 | -1 | 34.6 | 34.60
[7 empty] | 20:3_18:2_18:1 | 20:3_18:2_18:1 | 18:1/18:2/20:3 | 2 | 1 | 34.6 | 34.60 | 34.25782 34.54787 34.7362 | 77.7 | LB: the peak at 34.3min belongs to the second isotopic peak of 56:7 |  |  |  | TRUE
[7 empty] | 20:3_20:3_16:0_FP | not reported | 16:0/20:3/20:3 | 0 | -2 | 34.6 |  | 34.25782 | 7.5 | LB: the peak at 34.3min belongs to the second isotopic peak of 56:7
[7 empty] | 20:5_18:1_18:0_FP | not reported | 18:0/18:1/20:5 | 0 | -2 | 34.6 |  | 34.25782 | 8.9 | LB: the peak at 34.3min belongs to the second isotopic peak of 56:7
[7 empty] | 24:6_16:0_16:0 | 24:6_16:0_16:0 | not reported | 2 | -1 | 34.6 | 34.60
TG | 56:6 | Na | 56:6 | 56:6 | 2 | 2 | 20:4_18:1_18:1 | 20:4_18:1_18:1 | not reported | 2 | -1 | 34.6 | 34.60 |  |  |  | TRUE | TRUE | TRUE | TRUE
[7 empty] | 20:4_18:2_18:0 | not reported | 18:0/18:2/20:4 | -1 | 2 | 34.6 |  | 34.6477 | 79.1 | LDA: there is no 18:0 fragment present, but since it has been found by NH4, I count it correct |  |  | TRUE | TRUE
[7 empty] | 20:3_18:2_18:1 | 20:3_18:2_18:1 | 18:1/18:2/20:3 | 2 | 2 | 34.6 | 34.60 | 34.6477 | 8.7 |  |  |  | TRUE
TG | 56:7 | NH4 | 56:7 | 56:7 | 1 | 1 | 22:6_18:1_16:0 | 22:6_18:1_16:0 | 16:0/18:1/22:6 | 1 | 1 | 34.2 | 34.29 | 33.87548 34.31105 | 38.3 | LB: the peak 33.9min belongs to the second isotopic peak of 56:8; LDA integrated over the wrong spectrum too
[7 empty] | 22:5_18:2_16:0 | 22:5_18:2_16:0 | 16:0/18:2/22:5 | 1 | 1 | 34.2 | 34.29 | 33.87548 34.11063 34.31105 | 91.3 | LB: the peak 33.9min belongs to the second isotopic peak of 56:8; LDA integrated over the wrong spectrum too
[7 empty] | 20:4_20:3_16:0 | not reported | 16:0/20:3/20:4 | -1 | 2 | 34.2 |  | 34.11063 | 2.7 | LDA: chain cutoff
[7 empty] | 20:3_18:2_18:2 | not reported | 18:2/18:2/20:3 | -1 | 2 | 34.2 |  | 34.11063 | 2 | LDA: chain cutoff
[7 empty] | 22:5_18:1_16:1 | 22:5_18:1_16:1 | 16:1/18:1/22:5 | 1 | 2 | 34.2 | 34.29 | 34.31105 | 1.2 | LDA integrated over the wrong spectrum too
[7 empty] | 22:6_18:0_16:1_FP | not reported | 16:1/18:0/22:6 | 0 | -2 | 34.2 |  | 33.87548 | 8.6 | LB: the peak 33.9min belongs to the second isotopic peak of 56:8
TG | 56:7 | Na | 56:7 | not reported | 2 | -1 | [5 empty] | 34.2 | 34.22 |  |  |  | TRUE | TRUE
TG | 56:8 | NH4 | 56:8 | 56:8 | 2 | 2 | 22:6_18:2_16:0 | 22:6_18:2_16:0 | 16:0/18:2/22:6 | 2 | 2 | 33.7 | 33.84 | 33.79025 | 87.6
[7 empty] | 22:6_18:1_16:1 | 22:6_18:1_16:1 | not reported | 2 | -1 | 33.7 | 33.84 | [6 empty] | TRUE
[7 empty] | 20:4_18:2_18:2 | 20:4_18:2_18:2 | not reported | 2 | -1 | 33.7 | 33.84
[7 empty] | 20:4_20:4_16:0 | 20:4_20:4_16:0 | not reported | 2 | -1 | 33.7 | 33.84
[7 empty] | 20:3_18:3_18:2 | not reported | 18:2/18:3/20:3 | -1 | 2 | 33.7 |  | 33.59045 | 63.7 | LDA: chain cutoff
[7 empty] | 20:5_18:2_18:1 | 20:5_18:2_18:1 | 18:1/18:2/20:5 | 2 | 2 | 33.7 | 33.84 | 33.79025 | 7.7
[7 empty] | 22:5_18:2_16:1 | not reported | 16:1/18:2/22:5 | -1 | 2 | 33.7 |  | 33.59045 | 21.4 | LDA: chain cutoff
[7 empty] | 22:5_18:3_16:0 | not reported | 16:0/18:3/22:5 | -1 | 2 | 33.7 |  | 33.59045 | 6.5 | LDA: chain cutoff
[7 empty] | 20:5_20:3_16:0 | 20:5_20:3_16:0 | 16:0/20:3/20:5 | 2 | 2 | 33.7 | 33.84 | 33.79025 | 1.6
TG | 56:8 | Na | 56:8 | 56:8 | 2 | 2 | 22:6_18:2_16:0 | not reported | 16:0/18:2/22:6 | -1 | 2 | 33.7 |  | 33.85015 | 23.2 | LDA: removed by base peak cutoff | TRUE | TRUE | TRUE | TRUE
[7 empty] | 22:6_18:1_16:1 | not reported | 16:1/18:1/22:6 | -1 | 2 | 33.7 |  | 33.85015 | 23.2 | LDA: there are no fragments for 18:1 and 16:1 present, but since it has been found by TG_NH4, I count it as correct for LB |  |  | TRUE
[7 empty] | 17:1/17:1/22:6_FP | not reported | 17:1/17:1/22:6 | 0 | -2 |  |  | 33.85015 | 30.3 | LB: there is no 17:1 fragment detectable
TG | 56:9 | NH4 | 56:9 | 56:9 | 2 | 2 | 20:4_18:3_18:2 | 20:4_18:3_18:2 | 18:2/18:3/20:4 | 2 | 2 | 33.2 | 33.29 | 33.25457 | 17.7
[7 empty] | 20:5_18:2_18:2 | 20:5_18:2_18:2 | 18:2/18:2/20:5 | 2 | 2 | 33.2 | 33.29 | 33.25457 | 80.3
[7 empty] | 20:5_18:3_18:1 | 20:5_18:3_18:1 | 18:1/18:3/20:5 | 2 | 2 | 33.2 | 33.29 | 33.25457 | 2
TG | 58:0_noMS2 | Na | 58:0 | not reported | 0 | 0 | [5 empty] | 38.7 | 38.10 |  |  | not counted: only MS1 identification
TG | 58:3_noMS2 | NH4 | 58:3 | not reported | 0 | 0 | [5 empty] | 36.6 | 36.67 |  |  | not counted: only MS1 identification
TG | 58:4_noMS2 | NH4 | 58:4 | not reported | 0 | 0 | [5 empty] | 36.0 | 36.09 |  |  | not counted: only MS1 identification
TG | 58:4_noMS2 | Na | 58:4 | not reported | 0 | 0 | [5 empty] | 36.0 | 36.09 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 58:5 | NH4 | 58:5 | 58:5 | 2 | 2 | 22:4_18:1_18:0 | 22:4_18:1_18:0 | 18:0/18:1/22:4 | 2 | 2 | 35.6 | 35.63 | 35.64623 | 98.6
[7 empty] | 22:3_18:1_18:1 | 22:3_18:1_18:1 | 18:1/18:1/22:3 | 2 | 2 | 35.6 | 35.63 | 35.64623 | 1
[7 empty] | 22:4_20:1_16:0 | 22:4_20:1_16:0 | not reported | 2 | -1 | 35.6 | 35.63
[7 empty] | 20:3_20:1_18:1 | not reported | 18:1/20:1/20:3 | -1 | 2 | 35.6 |  | 35.64623 | 0.2 | LDA: chain cutoff
TG | 58:5_noMS2 | Na | 58:5 | not reported | 0 | 0 | [5 empty] | 35.6 | 35.63 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 58:6 | NH4 | 58:6 | 58:6 | 2 | 2 | 22:4_18:1_18:1 | 22:4_18:1_18:1 | 18:1/18:1/22:4 | 2 | 2 | 35.1 | 35.11 | 35.13692 | 95.3
[7 empty] | 22:4_18:2_18:0 | 22:4_18:2_18:0 | not reported | 2 | -1 | 35.1 | 35.11
[7 empty] | 22:5_18:1_18:0 | not reported | 18:0/18:1/22:5 | -1 | 2 | 35.1 |  | 35.13692 | 1.1 | LDA: chain cutoff
[7 empty] | 22:4_20:2_16:0 | 22:4_20:2_16:0 | not reported | 2 | -1 | 35.1 | 35.11
[7 empty] | 22:3_18:2_18:1 | not reported | 18:1/18:2/22:3 | -1 | 2 | 35.1 |  | 35.13692 | 1.3 | LDA: chain cutoff
TG | 58:6_noMS2 | Na | 58:6 | not reported | 0 | 0 | [5 empty] | 35.1 | 35.11 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 58:7 | NH4 | 58:7 | 58:7 | 2 | 2 | 22:4_18:2_18:1 | 22:4_18:2_18:1 | 18:1/18:2/22:4 | 2 | 2 | 34.6 | 34.65 | 34.60862 | 97.8
[7 empty] | 22:5_18:1_18:1 | 22:5_18:1_18:1 | 18:1/18:1/22:5 | 2 | 2 | 34.6 | 34.65 | 34.60862 | 1
[7 empty] | 22:5_18:2_18:0 | not reported | 18:0/18:2/22:5 | -1 | 2 | 34.6 |  | 34.60862 | 0.7 | LDA: chain cutoff
[7 empty] | 22:4_20:3_16:0 | 22:4_20:3_16:0 | not reported | 2 | -1 | 34.6 | 34.65
TG | 58:7_noMS2 | Na | 58:7 | not reported | 0 | 0 | [5 empty] | 34.6 | 34.65 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 58:8 | NH4 | 58:8 | 58:8 | 2 | 2 | 22:6_18:1_18:1 | 22:6_18:1_18:1 | 18:1/18:1/22:6 | 2 | 2 | 34.2 | 34.35 | 34.38255 | 76.6
[7 empty] | 22:6_18:2_18:0 | 22:6_18:2_18:0 | 18:0/18:2/22:6 | 2 | 2 | 34.2 | 34.35 | 34.38255 | 3.5
[7 empty] | 22:5_18:2_18:1 | 22:5_18:2_18:1 | 18:1/18:2/22:5 | 2 | 2 | 34.2 | 34.35 | 34.15202 34.38255 | 97.5
[7 empty] | 22:4_18:2_18:2 | not reported | 18:2/18:2/22:4 | -1 | 2 | 34.2 |  | 34.15202 | 1.4 | LDA: chain cutoff
[7 empty] | 22:5_20:3_16:0 | not reported | 16:0/20:3/22:5 | -1 | 2 | 34.2 |  | 34.15202 | 0.6 | LDA: chain cutoff
TG | 58:8_noMS2 | Na | 58:8 | not reported | 0 | 0 | [5 empty] | 34.2 | 34.35 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 58:9 | NH4 | 58:9 | 58:9 | 2 | 2 | 22:6_18:2_18:1 | 22:6_18:2_18:1 | 18:1/18:2/22:6 | 2 | 2 | 33.8 | 33.89 | 33.91425 | 98.6
[7 empty] | 22:5_18:2_18:2 | not reported | 18:2/18:2/22:5 | -1 | 2 | 33.8 |  | 33.91425 | 1 | LDA: chain cutoff
[7 empty] | 22:5_18:3_18:1 | not reported | 18:1/18:3/22:5 | -1 | 2 | 33.8 |  | 33.91425 | 0.4 | LDA: base peak cutoff removed 18:3 fragment that is at noise level - hard to say if it is really there
TG | 58:9_noMS2 | Na | 58:9 | not reported | 0 | 0 | [5 empty] | 33.8 | 33.89 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 58:10 | NH4 | 58:10 | 58:10 | 2 | 2 | 22:6_18:2_18:2 | 22:6_18:2_18:2 | 18:2/18:2/22:6 | 2 | 2 | 33.3 | 33.43 | 33.39478 | 97.3
[7 empty] | 22:6_18:3_18:1 | 22:6_18:3_18:1 | 18:1/18:3/22:6 | 2 | 2 | 33.3 | 33.43 | 33.39478 | 1.4
[7 empty] | 22:5_18:3_18:2 | not reported | 18:2/18:3/22:5 | -1 | 2 | 33.3 |  | 33.39478 | 0.6 | LDA: chain cutoff
TG | 58:10 | Na | 58:10 | 58:10 | 2 | 2 | 22:6_18:2_18:2 | 22:6_18:2_18:2 | 18:2/18:2/22:6 | 2 | 2 | 33.3 | 33.43 | 33.42497 | 95.5 |  | TRUE | TRUE | TRUE | TRUE
[7 empty] | 20:4_20:4_18:2 | not reported | 18:2/20:4/20:4 20:4/18:2/20:4 | -1 | 2 | 33.3 |  | 33.42497 33.42497 | 0.9 | LDA: chain cutoff
TG | 58:11_noMS2 | NH4 | 58:11 | not reported | 0 | 0 | [5 empty] | 33.0 | 32.89 |  |  | not counted: only MS1 identification
TG | 60:6_noMS2 | NH4 | 60:6 | not reported | 0 | 0 | [5 empty] | 35.7 | 35.63 |  |  | not counted: only MS1 identification
TG | 60:6_noMS2 | Na | 60:6 | not reported | 0 | 0 | [5 empty] | 35.7 | 35.71 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 60:7_noMS2 | NH4 | 60:7 | not reported | 0 | 0 | [5 empty] | 35.1 | 35.11 |  |  | not counted: only MS1 identification
TG | 60:7_noMS2 | Na | 60:7 | not reported | 0 | 0 | [5 empty] | 35.1 | 35.11 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 60:8 | NH4 | 60:8 | 60:8 | 2 | 2 | 24:6_18:1_18:1 | 24:6_18:1_18:1 | not reported | 2 | -1 | 34.7 | 34.71
[7 empty] | 24:6_18:2_18:0 | 24:6_18:2_18:0 | not reported | 2 | -1 | 34.7 | 34.71
[7 empty] | 22:4_20:3_18:1 | not reported | 18:1/20:3/22:4 | -1 | 2 | 34.7 |  | 34.75337 | 100 | LDA: chain cutoff
TG | 60:8_noMS2 | Na | 60:8 | not reported | 0 | 0 | [5 empty] | 34.7 | 34.71 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 60:9 | NH4 | 60:9 | 60:9 | 2 | 2 | 24:6_18:2_18:1 | 24:6_18:2_18:1 | not reported | 2 | -1 | 34.2 | 34.22
[7 empty] | 24:6_20:3_16:0 | 24:6_20:3_16:0 | not reported | 2 | -1 | 34.2 | 34.22
[7 empty] | 22:5_20:3_18:1 | not reported | 18:1/20:3/22:5 | -1 | 2 | 34.2 |  | 34.28437 | 48.2 | LDA: chain cutoff
[7 empty] | 22:4_20:4_18:1 | not reported | 18:1/20:4/22:4 | -1 | 2 | 34.2 |  | 34.28437 | 16.8 | LDA: chain cutoff
[7 empty] | 22:4_20:3_18:2 | not reported | 18:2/20:3/22:4 | -1 | 2 | 34.2 |  | 34.28437 | 27.8 | LDA: chain cutoff
TG | 60:10_noMS2 | NH4 | 60:10 | not reported | 0 | 0 | [5 empty] | 33.8 | 34.03 |  |  | not counted: only MS1 identification
TG | 60:10_noMS2 | Na | 60:10 | not reported | 0 | 0 | [5 empty] | 33.8 | 33.89 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 60:11_noMS2 | NH4 | 60:11 | not reported | 0 | 0 | [5 empty] | 33.6 | 33.60 |  |  | not counted: only MS1 identification
TG | 60:11_noMS2 | Na | 60:11 | not reported | 0 | 0 | [5 empty] | 33.6 | 33.60 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 60:12 | NH4 | not reported | 60:12 | -1 | 2 | 22:6_22:6_16:0 | not reported | 16:0/22:6/22:6 | -1 | 2 | 33.2 |  | 33.36722 | 82.7 | LDA: unknown reason - possibly +1 isotopic peak
[7 empty] | 22:6_20:4_18:2 | not reported | 18:2/20:4/22:6 | -1 | 2 | 33.2 |  | 33.36722 | 12.8 | LDA: unknown reason - possibly +1 isotopic peak
[7 empty] | 22:6_22:5_16:1 | not reported | 16:1/22:5/22:6 | -1 | 2 | 33.2 |  | 33.36722 | 1.5 | LDA: unknown reason - possibly +1 isotopic peak
TG | 60:12_noMS2 | Na | 60:12 | not reported | 0 | 0 | [5 empty] | 33.2 | 33.21 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 61:11_FP | Na | 61:11 | not reported | -2 | 0
TG | 62:12 | NH4 | 62:12 | 62:12 | 2 | 2 | 22:6_22:4_18:2 | 22:6_22:4_18:2 | 18:2/22:4/22:6 | 2 | 2 | 33.6 | 33.60 | 33.63987 | 91.8
[7 empty] | 22:6_22:5_18:1 | 22:6_22:5_18:1 | not reported | 2 | -1 | 33.6 | 33.60
[7 empty] | 18:3/22:4/22:5_FP | not reported | 18:3/22:4/22:5 | 0 | -2 |  |  | 33.63987 | 8.2 | LB: there is no 18:3 fragment present
TG | 62:13_noMS2 | NH4 | 62:13 | not reported | 0 | 0 | [5 empty] | 33.2 | 33.38 |  |  | not counted: only MS1 identification
TG | 62:13_noMS2 | Na | 62:13 | not reported | 0 | 0 | [5 empty] | 33.2 | 33.38 |  |  | not counted: only MS1 identification | TRUE | TRUE
TG | 62:14_noMS2 | Na | 62:14 | not reported | 0 | 0 | [5 empty] | 32.8 | 32.89 |  |  | not counted: only MS1 identification
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 54 |  | Total number of identified species: |  |  | 43
Total number of identified LDA species: |  |  |  |  | 52 |  | Total number of identified LDA species: |  |  | 41
Total number of identified LipidBlast species: |  |  |  |  | 45 |  | Total number of identified LipidBlast species: |  |  | 39
False positives LDA: |  |  |  |  | 5 |  | False positives LDA: |  |  | 5
False positives LipidBlast: |  |  |  |  | 10 |  | False positives LipidBlast: |  |  | 8
False negatives LDA: |  |  |  |  | 2 |  | False negatives LDA: |  |  | 2
False negatives LipidBlast: |  |  |  |  | 9 |  | False negatives LipidBlast: |  |  | 4
Sensitivity LDA: |  |  |  |  | 96.3% |  | Sensitivity LDA: |  |  | 95.35%
Sensitivity LipidBlast |  |  |  |  | 83.33% |  | Sensitivity LipidBlast: |  |  | 90.7%
Positive Predictive Value LDA: |  |  |  |  | 91.23% |  | Positive Predictive Value LDA: |  |  | 89.13%
Positive Predictive Value LipidBlast: |  |  |  |  | 81.82% |  | Positive Predictive Value LipidBlast: |  |  | 82.98%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 196 |  | Total number of identified species: |  |  | 183
Total number of identified LDA species: |  |  |  |  | 143 |  | Total number of identified LDA species: |  |  | 135
Total number of identified LipidBlast species: |  |  |  |  | 132 |  | Total number of identified LipidBlast species: |  |  | 124
False positives LDA: |  |  |  |  | 4 |  | False positives LDA: |  |  | 4
False positives LipidBlast: |  |  |  |  | 33 |  | False positives LipidBlast: |  |  | 32
False negatives LDA: |  |  |  |  | 53 |  | False negatives LDA: |  |  | 48
False negatives LipidBlast: |  |  |  |  | 64 |  | False negatives LipidBlast: |  |  | 59
Sensitivity LDA: |  |  |  |  | 72.96% |  | Sensitivity LDA: |  |  | 73.77%
Sensitivity LipidBlast |  |  |  |  | 67.35% |  | Sensitivity LipidBlast: |  |  | 67.76%
Positive Predictive Value LDA: |  |  |  |  | 97.28% |  | Positive Predictive Value LDA: |  |  | 97.12%
Positive Predictive Value LipidBlast: |  |  |  |  | 80% |  | Positive Predictive Value LipidBlast: |  |  | 79.49%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## SM
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore
SM | 14:0_noMS2 | H | 14:0 | not reported | 0 | 0 | 19.3 | 19.26 |  |  | not counted: only MS1 identification
SM | 15:0_noMS2 | H | 15:0 | not reported | 0 | 0 | 22.8 | 22.94 |  |  | not counted: only MS1 identification
SM | 15:0_noMS2 | Na | 15:0 | not reported | 0 | 0 | 22.8 | 22.78 |  |  | not counted: only MS1 identification | TRUE | TRUE
SM | 16:0 | H | 16:0 | not reported | 2 | -1 | 23.8 | 23.83
SM | 16:0_noMS2 | Na | 16:0 | not reported | 0 | 0 | 23.8 | 23.76 |  |  | not counted: only MS1 identification | TRUE | TRUE
SM | 16:1_noMS2 | H | 16:1 | not reported | 0 | 0 | 22.3 | 22.44 |  |  | not counted: only MS1 identification
SM | 20:0 | H | not reported | 20:0 | -1 | -3 | 25.1 |  | 33.17270 | 0 | LDA: MS1 quantitation; LB: impossible retention time |  | TRUE
SM | 20:0 | Na | not reported | 20:0 | -1 | 2 | 25.1 |  | 25.32328 | 25 | LDA: spectrum is overlapped by PC_head 184 fragment | TRUE
SM | 20:1 | H | 20:1 | not reported | 2 | -1 | 24 | 24.07
SM | 22:0 | H | 22:0 | not reported | 2 | -1 | 29.3 | 29.37
SM | 22:0_noMS2 | Na | not reported | 22:0 | 0 | -2 | 29.3 |  | 26.92698 27.40473 | 0 | LB: impossible retention time | TRUE
SM | 22:1 | Na | not reported | 22:1 | -1 | 2 | 26.3 |  | 25.71070 | 50 | LB: impossible retention time
SM | 23:0 | H | 23:0 | not reported | 2 | -1 | 30.3 | 30.37
SM | 23:0_noMS2 | Na | 23:0 | not reported | 0 | 0 | 30.3 | 30.75 |  |  | not counted: only MS1 identification | TRUE | TRUE
SM | 23:1_noMS2 | H | 23:1 | not reported | 0 | 0 | 28.8 | 28.82 |  |  | not counted: only MS1 identification |  | TRUE
SM | 23:1_noMS2 | Na | not reported | 23:1 | 0 | -2 | 28.8 |  | 25.0173 | 0 | LB: impossible retention time | TRUE
SM | 24:0 | H | 24:0 | not reported | 2 | -1 | 31.1 | 31.16
SM | 24:0_noMS2 | Na | 24:0 | not reported | 0 | 0 | 31.1 | 31.16 |  |  | not counted: only MS1 identification | TRUE | TRUE
SM | 24:1 | H | 24:1 | not reported | 2 | -1 | 29.5 | 29.53 |  |  |  |  | TRUE
SM | 24:1 | Na | 24:1 | 24:1 | 2 | 1 | 29.5 | 29.53 | 29.33807 29.56315 32.61865 | 50 | LB: the peak at 32.6min is something else | TRUE
SM | 24:2 | H | 24:2 | not reported | 2 | -1 | 28.6 | 28.01
SM | 25:0_noMS2 | H | 25:0 | not reported | 0 | 0 | 32.7 | 32.28 |  |  | not counted: only MS1 identification
SM | 25:1_noMS2 | H | 25:1 | not reported | 0 | 0 | 31.1 | 30.60 |  |  | not counted: only MS1 identification |  | TRUE
SM | 25:1_noMS2 | Na | not reported | 25:1 | 0 | -2 | 31.1 |  | 26.63790 | 0 | LB: impossible retention time | TRUE
SM | 25:3_FP | Na | not reported | 25:3 | 0 | -2 |  |  | 24.76892 | 98 | LB: impossible retention time
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 11 |  | Total number of identified species: |  |  | 9
Total number of identified LDA species: |  |  |  |  | 8 |  | Total number of identified LDA species: |  |  | 7
Total number of identified LipidBlast species: |  |  |  |  | 3 |  | Total number of identified LipidBlast species: |  |  | 3
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 6 |  | False positives LipidBlast: |  |  | 5
False negatives LDA: |  |  |  |  | 3 |  | False negatives LDA: |  |  | 2
False negatives LipidBlast: |  |  |  |  | 8 |  | False negatives LipidBlast: |  |  | 6
Sensitivity LDA: |  |  |  |  | 72.73% |  | Sensitivity LDA: |  |  | 77.78%
Sensitivity LipidBlast |  |  |  |  | 27.27% |  | Sensitivity LipidBlast: |  |  | 33.33%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 33.33% |  | Positive Predictive Value LipidBlast: |  |  | 37.5%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported