## Summary
Species evaluation - every adduct is counted independently
| LDA MS1 identified |  | LBlast MS1 identified |  | LDA MS1 PPV |  | LBlast MS1 PPV |  | LDA MS2 identified |  | LBlast MS2 identified |  | LDA MS2 PPV |  | LBlast MS2 PPV
PI | 7/8 | 87.5% | 1/8 | 12.5% | 7/7 | 100% | 1/1 | 100% | 4/7 | 57.14% | 1/7 | 14.29% | 4/4 | 100% | 1/1 | 100%
P-PE | 2/2 | 100% | 0/2 | 0% | 2/3 | 66.67% | NA | NA | 2/2 | 100% | 0/2 | 0% | 2/2 | 100% | NA | NA
LPE | 3/3 | 100% | 0/3 | 0% | 3/3 | 100% | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
PS | 2/3 | 66.67% | 2/3 | 66.67% | 2/2 | 100% | 2/2 | 100% | 2/3 | 66.67% | 2/3 | 66.67% | 2/2 | 100% | 2/2 | 100%
PC | 23/27 | 85.19% | 13/27 | 48.15% | 23/23 | 100% | 13/15 | 86.67% | 27/32 | 84.38% | 13/32 | 40.62% | 27/27 | 100% | 13/15 | 86.67%
PE | 13/14 | 92.86% | 5/14 | 35.71% | 13/13 | 100% | 5/6 | 83.33% | 16/18 | 88.89% | 6/18 | 33.33% | 16/17 | 94.12% | 6/7 | 85.71%
PG | 1/2 | 50% | 0/2 | 0% | 1/2 | 50% | NA | NA | 1/2 | 50% | 0/2 | 0% | 1/2 | 50% | NA | NA
Cer | no MS/MS
Total | 51/59 | 86.44% | 21/59 | 35.59% | 51/53 | 96.23% | 21/24 | 87.5% | 52/64 | 81.25% | 22/64 | 34.38% | 52/54 | 96.3% | 22/25 | 88%
Species evaluation - adduct insensitive
| LDA MS1 identified |  | LBlast MS1 identified |  | LDA MS1 PPV |  | LBlast MS1 PPV |  | LDA MS2 identified |  | LBlast MS2 identified |  | LDA MS2 PPV |  | LBlast MS2 PPV
PI | 7/8 | 87.5% | 1/8 | 12.5% | 7/7 | 100% | 1/1 | 100% | 4/7 | 57.14% | 1/7 | 14.29% | 4/4 | 100% | 1/1 | 100%
P-PE | 2/2 | 100% | 0/2 | 0% | 2/3 | 66.67% | NA | NA | 2/2 | 100% | 0/2 | 0% | 2/2 | 100% | NA | NA
LPE | 3/3 | 100% | 0/3 | 0% | 3/3 | 100% | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
PS | 2/3 | 66.67% | 2/3 | 66.67% | 2/2 | 100% | 2/2 | 100% | 2/3 | 66.67% | 2/3 | 66.67% | 2/2 | 100% | 2/2 | 100%
PC | 14/16 | 87.5% | 11/16 | 68.75% | 14/14 | 100% | 11/13 | 84.62% | 17/20 | 85% | 11/20 | 55% | 17/17 | 100% | 11/13 | 84.62%
PE | 13/14 | 92.86% | 5/14 | 35.71% | 13/13 | 100% | 5/6 | 83.33% | 16/18 | 88.89% | 6/18 | 33.33% | 16/17 | 94.12% | 6/7 | 85.71%
PG | 1/2 | 50% | 0/2 | 0% | 1/2 | 50% | NA | NA | 1/2 | 50% | 0/2 | 0% | 1/2 | 50% | NA | NA
Cer | no MS/MS
Total | 42/48 | 87.5% | 19/48 | 39.58% | 42/44 | 95.45% | 19/22 | 86.36% | 42/52 | 80.77% | 20/52 | 38.46% | 42/44 | 95.45% | 20/23 | 86.96%

## PI
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PI | 34:2 | -H | 34:2 | not reported | 2 | -1 | 16:0/18:2 | not reported | not reported | -1 | -1 | 22.1 |  |  |  | LDA: too less fragments found to verify 16:0
PI | 36:3 | -H | 36:3 | not reported | 2 | -1 | [5 empty] | 22.6 | 22.64
PI | 36:4 | -H | 36:4 | not reported | 2 | -1 | 16:0/20:4 | 16:0/20:4 | not reported | 2 | -1 | 22.0 | 22.05
PI | 37:4 | -H | 37:4 | not reported | 2 | -1 | 17:0/20:4 | 17:0/20:4 | not reported | 2 | -1 | 22.8 | 22.89
PI | 38:3 | -H | not reported | not reported | -1 | -1 | 18:0/20:3 | not reported | not reported | -1 | -1
PI | 38:4 | -H | 38:4 | 38:4 | 2 | 2 | 18:0/20:4 | 18:0/20:4 | 18:0/20:4 | 2 | 2 | 23.8 | 23.76 | 23.91955 | 16.5
PI | 38:5 | -H | 38:5 | not reported | 2 | -1 | 18:1/20:4 | not reported | not reported | -1 | -1 | 22.3 |  |  |  | LDA: chains removed by rules
PI | 40:6 | -H | 40:6 | not reported | 2 | -1 | 18:0/22:6 | 18:0/22:6 | not reported | 2 | -1 | 23.3 | 23.39
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 8 |  | Total number of identified species: |  |  | 8
Total number of identified LDA species: |  |  |  |  | 7 |  | Total number of identified LDA species: |  |  | 7
Total number of identified LipidBlast species: |  |  |  |  | 1 |  | Total number of identified LipidBlast species: |  |  | 1
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 7 |  | False negatives LipidBlast: |  |  | 7
Sensitivity LDA: |  |  |  |  | 87.5% |  | Sensitivity LDA: |  |  | 87.5%
Sensitivity LipidBlast |  |  |  |  | 12.5% |  | Sensitivity LipidBlast: |  |  | 12.5%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 7 |  | Total number of identified species: |  |  | 7
Total number of identified LDA species: |  |  |  |  | 4 |  | Total number of identified LDA species: |  |  | 4
Total number of identified LipidBlast species: |  |  |  |  | 1 |  | Total number of identified LipidBlast species: |  |  | 1
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 3 |  | False negatives LDA: |  |  | 3
False negatives LipidBlast: |  |  |  |  | 6 |  | False negatives LipidBlast: |  |  | 6
Sensitivity LDA: |  |  |  |  | 57.14% |  | Sensitivity LDA: |  |  | 57.14%
Sensitivity LipidBlast |  |  |  |  | 14.29% |  | Sensitivity LipidBlast: |  |  | 14.29%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## P-PE
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
P-PE | 36:4 | -H | 36:4 | not reported | 2 | -1 | P-16:0/20:4 | P-16:0/20:4 | not reported | 2 | -1 | 25.8 | 25.75
P-PE | 38:4 | -H | 38:4 | not reported | 2 | -1 | P-18:0/20:4 | P-18:0/20:4 | not reported | 2 | -1 | 27.3 | 27.35
P-PE | 38:8_FP | -H | 38:8 | not reported | -2 | 0 | [9 empty] | LDA: FP
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 2 |  | Total number of identified species: |  |  | 2
Total number of identified LDA species: |  |  |  |  | 2 |  | Total number of identified LDA species: |  |  | 2
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 1 |  | False positives LDA: |  |  | 1
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 0 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 2 |  | False negatives LipidBlast: |  |  | 2
Sensitivity LDA: |  |  |  |  | 100% |  | Sensitivity LDA: |  |  | 100%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | 66.67% |  | Positive Predictive Value LDA: |  |  | 66.67%
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 2 |  | Total number of identified species: |  |  | 2
Total number of identified LDA species: |  |  |  |  | 2 |  | Total number of identified LDA species: |  |  | 2
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 0 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 2 |  | False negatives LipidBlast: |  |  | 2
Sensitivity LDA: |  |  |  |  | 100% |  | Sensitivity LDA: |  |  | 100%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## LPE
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore
LPE | 16:0 | -H | 16:0 | not reported | 2 | -1 | 7.5 | 7.63
LPE | 18:0 | -H | 18:0 | not reported | 2 | -1 | 11.0 | 11.07
LPE | 20:4 | -H | 20:4 | not reported | 2 | -1 | 5.4 | 6.04
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 3 |  | Total number of identified species: |  |  | 3
Total number of identified LDA species: |  |  |  |  | 3 |  | Total number of identified LDA species: |  |  | 3
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 0 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 3 |  | False negatives LipidBlast: |  |  | 3
Sensitivity LDA: |  |  |  |  | 100% |  | Sensitivity LDA: |  |  | 100%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## PS
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PS | 38:4 | -H | 38:4 | 38:4 | 2 | 2 | 18:0/20:4 | 18:0/20:4 | 18:0/20:4 | 2 | 2 | 24.3 | 24.14 | 24.16845 | 16.5
PS | 38:6 | -H | not reported | not reported | -1 | -1 | 16:0/22:6 | not reported | not reported | -1 | -1 | 22.3 |  |  |  | LDA: MS1 quantitation - 3D algorithm
PS | 40:6 | -H | 40:6 | 40:6 | 2 | 2 | 18:0/22:6 | 18:0/22:6 | 22:6/18:0 18:0/22:6 | 2 | 2 | 24.1 | 23.89 | 24.00305 24.00305 | 50
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 3 |  | Total number of identified species: |  |  | 3
Total number of identified LDA species: |  |  |  |  | 2 |  | Total number of identified LDA species: |  |  | 2
Total number of identified LipidBlast species: |  |  |  |  | 2 |  | Total number of identified LipidBlast species: |  |  | 2
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 1 |  | False negatives LipidBlast: |  |  | 1
Sensitivity LDA: |  |  |  |  | 66.67% |  | Sensitivity LDA: |  |  | 66.67%
Sensitivity LipidBlast |  |  |  |  | 66.67% |  | Sensitivity LipidBlast: |  |  | 66.67%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 3 |  | Total number of identified species: |  |  | 3
Total number of identified LDA species: |  |  |  |  | 2 |  | Total number of identified LDA species: |  |  | 2
Total number of identified LipidBlast species: |  |  |  |  | 2 |  | Total number of identified LipidBlast species: |  |  | 2
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 1 |  | False negatives LipidBlast: |  |  | 1
Sensitivity LDA: |  |  |  |  | 66.67% |  | Sensitivity LDA: |  |  | 66.67%
Sensitivity LipidBlast |  |  |  |  | 66.67% |  | Sensitivity LipidBlast: |  |  | 66.67%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## PC
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PC | 32:0_noMS2 | HCOO | 32:0 | not reported | 0 | 0 | [5 empty] | 26.3 | 26.37 |  |  | not counted: only MS1 identification
PC | 32:0_noMS2 | -CH3 | 32:0 | not reported | 0 | 0 | [5 empty] | 26.3 | 26.25 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 33:0_noMS2 | HCOO | 33:0 | not reported | 0 | 0 | [5 empty] | 27.1 | 27.10 |  |  | not counted: only MS1 identification
PC | 33:1_noMS2 | -CH3 | 33:1 | not reported | 0 | 0 | [5 empty] | 25.8 | 25.87 |  |  | not counted: only MS1 identification
PC | 33:2_noMS2 | -CH3 | 33:2 | not reported | 0 | 0 | [5 empty] | 24.3 | 24.51 |  |  | not counted: only MS1 identification
PC | 34:0_noMS2 | HCOO | 34:0 | not reported | 0 | 0 | [5 empty] | 28.1 | 28.23 |  |  | not counted: only MS1 identification
PC | 34:1 | HCOO | 34:1 | 34:1 | 2 | 2 | 16:0/18:1 | 16:0/18:1 | 16:0/18:1 | 2 | 2 | 26.5 | 26.60 | 26.57720 | 5.5
PC | 34:1 | -CH3 | 34:1 | not reported | 2 | -1 | 16:0/18:1 | 16:0/18:1 | not reported | 2 | -1 | 26.5 | 26.60 |  |  |  | TRUE | TRUE | TRUE | TRUE
PC | 34:2 | HCOO | 34:2 | not reported | 2 | -1 | 16:0/18:2 | 16:0/18:2 | not reported | 2 | -1 | 25.1 | 25.26
PC | 34:2 | -CH3 | 34:2 | not reported | 2 | -1 | 16:0/18:2 | 16:0/18:2 | not reported | 2 | -1 | 25.1 | 25.26 |  |  |  | TRUE | TRUE | TRUE | TRUE
PC | 34:3_noMS2 | HCOO | 34:3 | not reported | 0 | 0 | [5 empty] | 24.0 | 24.14 |  |  | not counted: only MS1 identification
PC | 34:3_noMS2 | -CH3 | 34:3 | not reported | 0 | 0 | [5 empty] | 24.0 | 24.01 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 35:2 | HCOO | 35:2 | not reported | 2 | -1 | 17:0/18:2 | 17:0/18:2 | not reported | 2 | -1 | 26.1 | 26.25
[7 empty] | 17:1/18:1 | 17:1/18:1 | not reported | 2 | -1 | 26.1 | 26.25
PC | 35:2_noMS2 | -CH3 | 35:2 | not reported | 0 | 0 | [5 empty] | 26.1 | 26.25 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 36:1 | HCOO | 36:1 | 36:1 | 2 | 2 | 18:0/18:1 | 18:0/18:1 | 18:0/18:1 | 2 | 2 | 28.5 | 28.60 | 28.75240 | 5.5
PC | 36:1 | -CH3 | 36:1 | not reported | 2 | -1 | 18:0/18:1 | 18:0/18:1 | not reported | 2 | -1 | 28.5 | 28.46 |  |  |  | TRUE | TRUE | TRUE | TRUE
PC | 36:2 | HCOO | 36:2 | 36:2 | 2 | 1 | 18:0/18:2 | 18:0/18:2 | 18:0/18:2 | 2 | 1 | 27.1 | 26.98 | 26.83873 27.12962 27.37915 27.62818 27.87825 | 7.8
PC | 36:2 | -CH3 | 36:2 | not reported | 2 | -1 | 18:0/18:2 | 18:0/18:2 | not reported | 2 | -1 | 27.1 | 26.98 |  |  |  | TRUE | TRUE | TRUE | TRUE
PC | 36:3 | HCOO | 36:3 | 36:3 | 2 | 2 | 16:0/20:3 | 16:0/20:3 | not reported | 2 | -1 | 25.6 | 25.75
[7 empty] | 18:1/18:2 | 18:1/18:2 | 18:1/18:2 | 2 | 2 | 25.6 | 25.75 | 25.56045 25.77848 25.98647 | 1
PC | 36:3 | -CH3 | 36:3 | not reported | 2 | -1 | 16:0/20:3 | 16:0/20:3 | not reported | 2 | -1 | 25.6 | 25.75 |  |  |  | TRUE | TRUE | TRUE | TRUE
[7 empty] | 18:1/18:2 | 18:1/18:2 | not reported | 2 | -1 | 25.6 | 25.75 | [5 empty] | TRUE | TRUE
PC | 36:4 | HCOO | 36:4 | 36:4 | 2 | 2 | 16:0/20:4 | 16:0/20:4 | 16:0/20:4 | 2 | 2 | 24.8 | 25.01 | 24.94438 | 15.3
PC | 36:4 | -CH3 | 36:4 | 36:4 | 2 | 2 | 16:0/20:4 | 16:0/20:4 | 16:0/20:4 | 2 | 2 | 24.8 | 25.01 | 24.99680 | 32.8 |  | TRUE | TRUE | TRUE | TRUE
PC | 37:2_noMS2 | HCOO | 37:2 | not reported | 0 | 0 | [5 empty] | 28.0 | 27.98 |  |  | not counted: only MS1 identification
PC | 37:4 | HCOO | 37:4 | not reported | 2 | -1 | 17:0/20:4 | 20:4_17:0 | not reported | 2 | -1 | 25.8 | 26.00
PC | 38:2 | HCOO | not reported | not reported | -1 | -1 | [7 empty] | 29.43282 29.77990 | 1 | LB: the peak seems to be OK, although a little bit late
PC | 38:3 | HCOO | 38:3 | 38:3 | 2 | 2 | 18:0/20:3 | 18:0/20:3 | 20:3/18:0 18:0/20:3 | 2 | 2 | 27.6 | 27.60 | 27.50362 27.75310 27.50362 27.75310 | 22.3
PC | 38:3 | -CH3 | 38:3 | not reported | 2 | -1 | 18:0/20:3 | 18:0/20:3 | not reported | 2 | -1 | 27.6 | 27.73 |  |  |  | TRUE | TRUE | TRUE | TRUE
PC | 38:4 | HCOO | 38:4 | 38:4 | 2 | 1 | 18:0/20:4 | 18:0/20:4 | 18:0/20:4 | 2 | 1 | 26.6 | 26.73 | 26.59722 26.87995 27.18525 27.4348 | 15.4
PC | 38:4 | -CH3 | 38:4 | not reported | 2 | -1 | 18:0/20:4 | 18:0/20:4 | not reported | 2 | -1 | 26.6 | 26.73 |  |  |  | TRUE | TRUE | TRUE | TRUE
PC | 38:5 | HCOO | 38:5 | 38:5 | 2 | 2 | 18:1/20:4 | 18:1/20:4 | 18:1/20:4 | 2 | 2 | 25.3 | 25.50 | 25.46360 | 1.9
[7 empty] | 16:0/22:5 | not reported | not reported | -1 | -1 | 25.3 |  |  |  | LDA: chain cutoff
PC | 38:5 | -CH3 | not reported | not reported | -1 | -1 | 18:1/20:4 | not reported | not reported | -1 | -1 | 25.3 |  |  |  | LDA: peak is overlapped by an isotopic peak | TRUE | TRUE | TRUE | TRUE
PC | 38:6 | HCOO | 38:6 | 38:6 | 2 | 2 | 16:0/22:6 | 16:0/22:6 | 22:6/16:0 16:0/22:6 | 2 | 2 | 24.6 | 24.64 | 24.66722 24.66722 | 32.6
[7 empty] | 18:2/20:4 | 18:2/20:4 | not reported | 2 | -1 | 24.6 | 24.64
PC | 38:6 | -CH3 | 38:6 | 38:6 | 2 | 2 | 16:0/22:6 | 22:6/16:0 | 16:0/22:6 | 2 | 2 | 24.6 | 24.64 | 24.59818 24.79203 | 66.5 |  | TRUE | TRUE | TRUE | TRUE
PC | 39:6_noMS2 | HCOO | 39:6 | not reported | 0 | 0 | [5 empty] | 25.3 | 25.50 |  |  | not counted: only MS1 identification
PC | 40:4_noMS2 | HCOO | 40:4 | not reported | 0 | 0 | [5 empty] | 28.1 | 28.23 |  |  | not counted: only MS1 identification
PC | 40:4_noMS2 | -CH3 | 40:4 | not reported | 0 | 0 | [5 empty] | 28.1 | 28.71 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 40:5_noMS2 | HCOO | 40:5 | not reported | 0 | 0 | [5 empty] | 27.3 | 27.60 |  |  | not counted: only MS1 identification
PC | 40:5_noMS2 | -CH3 | 40:5 | not reported | 0 | 0 | [5 empty] | 27.3 | 27.73 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 40:6 | HCOO | 40:6 | 40:6 | 2 | 2 | 18:0/22:6 | 22:6_18:0 | 22:6/18:0 18:0/22:6 | 2 | 2 | 26.1 | 26.25 | 26.15242 26.42980 26.15242 26.42980 | 39.6
[7 empty] | 18:1/22:5 | not reported | not reported | -1 | -1 | 26.1 |  |  |  | LB: there are whether for 18:1 nor for 22:5 fragments present, but it has been found on other platforms -> correct
PC | 40:6 | -CH3 | not reported | not reported | -1 | -1 | 18:0/22:6 | not reported | not reported | -1 | -1 | 26.1 |  |  |  | LDA: removed by head rule "NL_PChead_60<0.2*Precursor" | TRUE | TRUE | TRUE | TRUE
PC | 40:7 | HCOO | 40:7 | 40:7 | 2 | 2 | 18:1/22:6 | 22:6_18:1 | 18:1/22:6 | 2 | 2 | 24.8 | 24.89 | 24.87545 | 5.5
PC | 40:7_noMS2 | -CH3 | 40:7 | not reported | 0 | 0 | [5 empty] | 24.8 | 24.89 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 40:8_noMS2 | HCOO | 40:8 | not reported | 0 | 0 | [5 empty] | 23.8 | 24.01 |  |  | not counted: only MS1 identification
PC | 40:8_noMS2 | -CH3 | 40:8 | not reported | 0 | 0 | [5 empty] | 23.8 | 23.89 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 40:9 | HCOO | not reported | not reported | -1 | -1 | 20:5/20:4 | not reported | not reported | -1 | -1 | 22.8 |  |  |  | LDA: removed by rule "NL_PChead_60>0.5*Precursor"
PC | 41:6_noMS2 | HCOO | 41:6 | not reported | 0 | 0 | [5 empty] | 27.0 | 26.50 27.35 |  |  | not counted: only MS1 identification
PC | 42:7_noMS2 | -CH3 | 42:7 | not reported | 0 | 0 | [5 empty] | 26.5 | 26.85 |  |  | not counted: only MS1 identification
PC | 42:9_noMS2 | -CH3 | 42:9 | not reported | 0 | 0 | [5 empty] | 24.1 | 24.51 |  |  | not counted: only MS1 identification
PC | 42:10_noMS2 | HCOO | 42:10 | not reported | 0 | 0 | [5 empty] | 23.3 | 23.51 |  |  | not counted: only MS1 identification
PC | 42:10_noMS2 | -CH3 | 42:10 | not reported | 0 | 0 | [5 empty] | 23.3 | 23.51 |  |  | not counted: only MS1 identification | TRUE | TRUE
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 27 |  | Total number of identified species: |  |  | 16
Total number of identified LDA species: |  |  |  |  | 23 |  | Total number of identified LDA species: |  |  | 14
Total number of identified LipidBlast species: |  |  |  |  | 13 |  | Total number of identified LipidBlast species: |  |  | 11
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 2 |  | False positives LipidBlast: |  |  | 2
False negatives LDA: |  |  |  |  | 4 |  | False negatives LDA: |  |  | 2
False negatives LipidBlast: |  |  |  |  | 14 |  | False negatives LipidBlast: |  |  | 5
Sensitivity LDA: |  |  |  |  | 85.19% |  | Sensitivity LDA: |  |  | 87.5%
Sensitivity LipidBlast |  |  |  |  | 48.15% |  | Sensitivity LipidBlast: |  |  | 68.75%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 86.67% |  | Positive Predictive Value LipidBlast: |  |  | 84.62%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 32 |  | Total number of identified species: |  |  | 20
Total number of identified LDA species: |  |  |  |  | 27 |  | Total number of identified LDA species: |  |  | 17
Total number of identified LipidBlast species: |  |  |  |  | 13 |  | Total number of identified LipidBlast species: |  |  | 11
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 2 |  | False positives LipidBlast: |  |  | 2
False negatives LDA: |  |  |  |  | 5 |  | False negatives LDA: |  |  | 3
False negatives LipidBlast: |  |  |  |  | 19 |  | False negatives LipidBlast: |  |  | 9
Sensitivity LDA: |  |  |  |  | 84.38% |  | Sensitivity LDA: |  |  | 85%
Sensitivity LipidBlast |  |  |  |  | 40.62% |  | Sensitivity LipidBlast: |  |  | 55%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 86.67% |  | Positive Predictive Value LipidBlast: |  |  | 84.62%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## PE
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PE | 24:0 | -H | 24:0 | not reported | 2 | -1 | 12:0/12:0 | 12:0/12:0 | not reported | 2 | -1 | 17.6 | 17.69
PE | 34:0_noMS2 | -H | 34:0 | not reported | 0 | 0 | [5 empty] | 27.6 | 27.60 |  |  | not counted: only MS1 identification
PE | 34:1 | -H | 34:1 | not reported | 2 | -1 | 16:0/18:1 | 16:0/18:1 | not reported | 2 | -1 | 26.3 | 26.25
PE | 34:2 | -H | 34:2 | not reported | 2 | -1 | 16:0/18:2 | 16:0/18:2 | not reported | 2 | -1 | 25.0 | 25.01
PE | 35:2_noMS2 | -H | 35:2 | not reported | 0 | 0 | [5 empty] | 25.8 | 25.87 |  |  | not counted: only MS1 identification
PE | 36:1 | -H | 36:1 | 36:1 | 2 | 2 | 18:0/18:1 | 18:0/18:1 | 18:0/18:1 | 2 | 2 | 27.8 | 27.85 | 27.78097 | 5.5
[7 empty] | 16:0/20:1 | 20:1_16:0 | not reported | 2 | -1 | 27.8 | 27.85
PE | 36:3 | -H | 36:3 | not reported | 2 | -1 | 18:1/18:2 | 18:2_18:1 | not reported | 2 | -1 | 25.8 | 25.37
PE | 36:4 | -H | 36:4 | 36:4 | 2 | 2 | 16:0/20:4 | 16:0/20:4 | 16:0/20:4 | 2 | 2 | 24.8 | 24.89 | 24.91657 | 16.2
[7 empty] | 18:2/18:2 | 18:2/18:2 | not reported | 2 | -1 | 24.8 | 24.89
PE | 36:5 | -H | 36:5 | not reported | 2 | -1 | 16:1/20:4 | 20:4_16:1 | not reported | 2 | -1 | 23.5 | 23.51
PE | 37:4_noMS2 | -H | 37:4 | not reported | 0 | 0 | [5 empty] | 25.6 | 25.75 |  |  | not counted: only MS1 identification
PE | 38:4 | -H | 38:4 | not reported | 2 | -1 | 18:0/20:4 | 18:0/20:4 | not reported | 2 | -1 | 26.5 | 26.50
PE | 38:5 | -H | 38:5 | not reported | 2 | -1 | 18:1/20:4 | 18:1/20:4 | not reported | 2 | -1 | 25.3 | 25.26
[7 empty] | 16:0/22:5 | not reported | not reported | -1 | -1 | 25.3 |  |  |  | LDA: chain cutoff
PE | 38:6 | -H | 38:6 | 38:6 | 2 | 2 | 16:0/22:6 | 16:0/22:6 | 22:6/16:0 16:0/22:6 | 2 | 2 | 24.3 | 24.39 | 24.54253 24.54253 | 42.9
[7 empty] | 18:2/20:4 | 20:4_18:2 | 18:2/20:4 | 2 | 2 | 24.3 | 24.39 | 23.97523 | 2.8
PE | 38:7 | -H | 38:7 | not reported | 2 | -1 | 16:1/22:6 | 16:1/22:6 | not reported | 2 | -1 | 23.1 | 23.14
[7 empty] | 24:2/14:5_FP | 24:2/14:5 |  | -2 | 0 |  | 23.14 |  |  | LDA: FP chain
PE | 39:4_noMS2 | -H | 39:4 | not reported | 0 | 0 | [5 empty] | 27.3 | 27.23 |  |  | not counted: only MS1 identification
PE | 39:6_noMS2 | -H | 39:6 | not reported | 0 | 0 | [5 empty] | 25.3 | 25.50 |  |  | not counted: only MS1 identification
PE | 40:5_noMS2 | -H | 40:5 | not reported | 0 | 0 | [5 empty] | 27.1 | 27.10 |  |  | not counted: only MS1 identification
PE | 40:6 | -H | 40:6 | 40:6 | 2 | 1 | 18:0_22:6 | 18:0/22:6 | 22:6/18:0 18:0/22:6 | 2 | 1 | 26.0 | 26.00 | 24.59818 26.02768 26.33290 24.59818 26.02768 26.33290 | 49.4 | LB: the spectrum before 25min belong to the second isotopic peak of PE40:7
PE | 40:7 | -H | 40:7 | 40:7 | 2 | 2 | 18:1/22:6 | 18:1/22:6 | 18:1/22:6 | 2 | 2 | 24.8 | 24.76 | 24.72287 | 5.5
PE | 40:8 | -H | not reported | not reported | -1 | -1 | 18:2/22:6 | not reported | not reported | -1 | -1 | 23.6 |  |  |  | LDA: removed by MS1 algorithm; +1 isotopic peak is stronger than +0 peak
PE | 40:9_noMS2 | -H | 40:9 | not reported | 0 | 0 | [5 empty] | 22.6 | 22.64 |  |  | not counted: only MS1 identification
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 14 |  | Total number of identified species: |  |  | 14
Total number of identified LDA species: |  |  |  |  | 13 |  | Total number of identified LDA species: |  |  | 13
Total number of identified LipidBlast species: |  |  |  |  | 5 |  | Total number of identified LipidBlast species: |  |  | 5
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 1 |  | False positives LipidBlast: |  |  | 1
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 9 |  | False negatives LipidBlast: |  |  | 9
Sensitivity LDA: |  |  |  |  | 92.86% |  | Sensitivity LDA: |  |  | 92.86%
Sensitivity LipidBlast |  |  |  |  | 35.71% |  | Sensitivity LipidBlast: |  |  | 35.71%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 83.33% |  | Positive Predictive Value LipidBlast: |  |  | 83.33%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 18 |  | Total number of identified species: |  |  | 18
Total number of identified LDA species: |  |  |  |  | 16 |  | Total number of identified LDA species: |  |  | 16
Total number of identified LipidBlast species: |  |  |  |  | 6 |  | Total number of identified LipidBlast species: |  |  | 6
False positives LDA: |  |  |  |  | 1 |  | False positives LDA: |  |  | 1
False positives LipidBlast: |  |  |  |  | 1 |  | False positives LipidBlast: |  |  | 1
False negatives LDA: |  |  |  |  | 2 |  | False negatives LDA: |  |  | 2
False negatives LipidBlast: |  |  |  |  | 12 |  | False negatives LipidBlast: |  |  | 12
Sensitivity LDA: |  |  |  |  | 88.89% |  | Sensitivity LDA: |  |  | 88.89%
Sensitivity LipidBlast |  |  |  |  | 33.33% |  | Sensitivity LipidBlast: |  |  | 33.33%
Positive Predictive Value LDA: |  |  |  |  | 94.12% |  | Positive Predictive Value LDA: |  |  | 94.12%
Positive Predictive Value LipidBlast: |  |  |  |  | 85.71% |  | Positive Predictive Value LipidBlast: |  |  | 85.71%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## PG
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PG | 34:2 | -H | 34:2 | not reported | 2 | -1 | 16:0/18:2 | 16:0/18:2 | not reported | 2 | -1 | 23.0 | 23.01 |  |  | LDA: retention time impossible
PG | 36:3 | -H | not reported | not reported | -1 | -1 | 18:1/18:2 | not reported | not reported | -1 | -1 |  |  |  |  | LDA: removed since no head group fragments were found
PG | 38:4_FP | -H | 38:4 | not reported | -2 | 0
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 2 |  | Total number of identified species: |  |  | 2
Total number of identified LDA species: |  |  |  |  | 1 |  | Total number of identified LDA species: |  |  | 1
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 1 |  | False positives LDA: |  |  | 1
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 2 |  | False negatives LipidBlast: |  |  | 2
Sensitivity LDA: |  |  |  |  | 50% |  | Sensitivity LDA: |  |  | 50%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | 50% |  | Positive Predictive Value LDA: |  |  | 50%
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 2 |  | Total number of identified species: |  |  | 2
Total number of identified LDA species: |  |  |  |  | 1 |  | Total number of identified LDA species: |  |  | 1
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 2 |  | False negatives LipidBlast: |  |  | 2
Sensitivity LDA: |  |  |  |  | 50% |  | Sensitivity LDA: |  |  | 50%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## Cer
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 0 |  | Total number of identified species: |  |  | 0
Total number of identified LDA species: |  |  |  |  | 0 |  | Total number of identified LDA species: |  |  | 0
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 0 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 0 |  | False negatives LipidBlast: |  |  | 0
Sensitivity LDA: |  |  |  |  | NA |  | Sensitivity LDA: |  |  | NA
Sensitivity LipidBlast |  |  |  |  | NA |  | Sensitivity LipidBlast: |  |  | NA
Positive Predictive Value LDA: |  |  |  |  | NA |  | Positive Predictive Value LDA: |  |  | NA
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported