## Summary
Species evaluation - every adduct is counted independently
| LDA MS1 identified |  | LBlast MS1 identified |  | LDA MS1 PPV |  | LBlast MS1 PPV |  | LDA MS2 identified |  | LBlast MS2 identified |  | LDA MS2 PPV |  | LBlast MS2 PPV
PI | 8/8 | 100% | 2/8 | 25% | 8/8 | 100% | 2/2 | 100% | 6/7 | 85.71% | 2/7 | 28.57% | 6/6 | 100% | 2/2 | 100%
P-PE | 0/1 | 0% | 0/1 | 0% | 0/1 | 0% | NA | NA | 0/1 | 0% | 0/1 | 0% | NA | NA | NA | NA
LPE | 1/1 | 100% | 0/1 | 0% | 1/1 | 100% | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
PS | 1/2 | 50% | 2/2 | 100% | 2/2 | 100% | 2/2 | 100% | 1/2 | 50% | 2/2 | 100% | 2/2 | 100% | 2/2 | 100%
PC | 22/23 | 95.65% | 12/23 | 52.17% | 22/24 | 91.67% | 12/12 | 100% | 25/27 | 92.59% | 13/27 | 48.15% | 25/28 | 89.29% | 13/13 | 100%
PE | 9/13 | 69.23% | 2/13 | 15.38% | 9/9 | 100% | 2/2 | 100% | 10/17 | 58.82% | 2/17 | 11.76% | 10/11 | 90.91% | 2/2 | 100%
PG | 1/1 | 100% | 0/1 | 0% | 1/1 | 100% | NA | NA | 1/1 | 100% | 0/1 | 0% | 1/1 | 100% | NA | NA
Cer | no MS/MS
Total | 42/49 | 85.71% | 18/49 | 36.73% | 43/46 | 93.48% | 18/18 | 100% | 43/55 | 78.18% | 19/55 | 34.55% | 44/48 | 91.67% | 19/19 | 100%
Species evaluation - adduct insensitive
| LDA MS1 identified |  | LBlast MS1 identified |  | LDA MS1 PPV |  | LBlast MS1 PPV |  | LDA MS2 identified |  | LBlast MS2 identified |  | LDA MS2 PPV |  | LBlast MS2 PPV
PI | 8/8 | 100% | 2/8 | 25% | 8/8 | 100% | 2/2 | 100% | 6/7 | 85.71% | 2/7 | 28.57% | 6/6 | 100% | 2/2 | 100%
P-PE | 0/1 | 0% | 0/1 | 0% | 0/1 | 0% | NA | NA | 0/1 | 0% | 0/1 | 0% | NA | NA | NA | NA
LPE | 1/1 | 100% | 0/1 | 0% | 1/1 | 100% | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
PS | 1/2 | 50% | 2/2 | 100% | 2/2 | 100% | 2/2 | 100% | 1/2 | 50% | 2/2 | 100% | 2/2 | 100% | 2/2 | 100%
PC | 13/14 | 92.86% | 9/14 | 64.29% | 13/14 | 92.86% | 9/9 | 100% | 15/17 | 88.24% | 10/17 | 58.82% | 15/17 | 88.24% | 10/10 | 100%
PE | 9/13 | 69.23% | 2/13 | 15.38% | 9/9 | 100% | 2/2 | 100% | 10/17 | 58.82% | 2/17 | 11.76% | 10/11 | 90.91% | 2/2 | 100%
PG | 1/1 | 100% | 0/1 | 0% | 1/1 | 100% | NA | NA | 1/1 | 100% | 0/1 | 0% | 1/1 | 100% | NA | NA
Cer | no MS/MS
Total | 33/40 | 82.5% | 15/40 | 37.5% | 34/36 | 94.44% | 15/15 | 100% | 33/45 | 73.33% | 16/45 | 35.56% | 34/37 | 91.89% | 16/16 | 100%

## PI
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PI | 34:2 | -H | 34:2 | not reported | 2 | -1 | 16:0/18:2 | 18:2/16:0 | not reported | 2 | -1 | 22.1 | 22.01
PI | 36:3 | -H | 36:3 | not reported | 2 | -1 | [5 empty] | 22.6 | 22.64
PI | 36:4 | -H | 36:4 | 36:4 | 2 | 2 | 16:0/20:4 | 16:0/20:4 | 16:0/20:4 | 2 | 2 | 22.0 | 22.01 | 22.0488 | 16.5
PI | 37:4 | -H | 37:4 | not reported | 2 | -1 | 17:0/20:4 | 17:0/20:4 | not reported | 2 | -1 | 22.8 | 22.89
PI | 38:3 | -H | 38:3 | not reported | 2 | -1 | 18:0/20:3 | 18:0/20:3 | not reported | 2 | -1 | 25.3 | 24.64
PI | 38:4 | -H | 38:4 | 38:4 | 2 | 2 | 18:0/20:4 | 18:0/20:4 | 18:0/20:4 | 2 | 2 | 23.8 | 23.76 | 23.66623 | 16.5
PI | 38:5 | -H | 38:5 | not reported | 2 | -1 | 18:1/20:4 | 18:1/20:4 | not reported | 2 | -1 | 22.3 | 22.39
PI | 40:6 | -H | 40:6 | not reported | 2 | -1 | 18:0/22:6 | not reported | not reported | -1 | -1 | 23.3
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 8 |  | Total number of identified species: |  |  | 8
Total number of identified LDA species: |  |  |  |  | 8 |  | Total number of identified LDA species: |  |  | 8
Total number of identified LipidBlast species: |  |  |  |  | 2 |  | Total number of identified LipidBlast species: |  |  | 2
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 0 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 6 |  | False negatives LipidBlast: |  |  | 6
Sensitivity LDA: |  |  |  |  | 100% |  | Sensitivity LDA: |  |  | 100%
Sensitivity LipidBlast |  |  |  |  | 25% |  | Sensitivity LipidBlast: |  |  | 25%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 7 |  | Total number of identified species: |  |  | 7
Total number of identified LDA species: |  |  |  |  | 6 |  | Total number of identified LDA species: |  |  | 6
Total number of identified LipidBlast species: |  |  |  |  | 2 |  | Total number of identified LipidBlast species: |  |  | 2
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 5 |  | False negatives LipidBlast: |  |  | 5
Sensitivity LDA: |  |  |  |  | 85.71% |  | Sensitivity LDA: |  |  | 85.71%
Sensitivity LipidBlast |  |  |  |  | 28.57% |  | Sensitivity LipidBlast: |  |  | 28.57%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## P-PE
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
P-PE | 36:4 | -H | not reported | not reported | -1 | -1 | P-16:0/20:4 | not reported | not reported | -1 | -1 | 25.8
P-PE | 38:8_FP | -H | 38:8 | not reported | -2 | 0
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 1 |  | Total number of identified species: |  |  | 1
Total number of identified LDA species: |  |  |  |  | 0 |  | Total number of identified LDA species: |  |  | 0
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 1 |  | False positives LDA: |  |  | 1
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 1 |  | False negatives LipidBlast: |  |  | 1
Sensitivity LDA: |  |  |  |  | 0% |  | Sensitivity LDA: |  |  | 0%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | 0% |  | Positive Predictive Value LDA: |  |  | 0%
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 1 |  | Total number of identified species: |  |  | 1
Total number of identified LDA species: |  |  |  |  | 0 |  | Total number of identified LDA species: |  |  | 0
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 1 |  | False negatives LipidBlast: |  |  | 1
Sensitivity LDA: |  |  |  |  | 0% |  | Sensitivity LDA: |  |  | 0%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | NA |  | Positive Predictive Value LDA: |  |  | NA
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## LPE
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore
LPE | 18:0 | -H | 18:0 | not reported | 2 | -1 | 11.0 | 11.17
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 1 |  | Total number of identified species: |  |  | 1
Total number of identified LDA species: |  |  |  |  | 1 |  | Total number of identified LDA species: |  |  | 1
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 0 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 1 |  | False negatives LipidBlast: |  |  | 1
Sensitivity LDA: |  |  |  |  | 100% |  | Sensitivity LDA: |  |  | 100%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## PS
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PS | 38:4 | -H | 38:4 | 38:4 | 2 | 2 | 18:0/20:4 | 18:0/20:4 | 18:0/20:4 | 2 | 2 | 24.3 | 24.14 | 24.16493 | 16.5
PS | 40:6 | -H | not reported | 40:6 | -1 | 2 | 18:0/22:6 | not reported | 22:6/18:0 18:0/22:6 | -1 | 2 | 24.1 |  | 23.74977 24.06788 23.74977 24.06788 | 50 | LDA: spectral interpretation works - seems to be a problem with the MS1 algorithm
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 2 |  | Total number of identified species: |  |  | 2
Total number of identified LDA species: |  |  |  |  | 1 |  | Total number of identified LDA species: |  |  | 1
Total number of identified LipidBlast species: |  |  |  |  | 2 |  | Total number of identified LipidBlast species: |  |  | 2
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 0 |  | False negatives LipidBlast: |  |  | 0
Sensitivity LDA: |  |  |  |  | 50% |  | Sensitivity LDA: |  |  | 50%
Sensitivity LipidBlast |  |  |  |  | 100% |  | Sensitivity LipidBlast: |  |  | 100%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 2 |  | Total number of identified species: |  |  | 2
Total number of identified LDA species: |  |  |  |  | 1 |  | Total number of identified LDA species: |  |  | 1
Total number of identified LipidBlast species: |  |  |  |  | 2 |  | Total number of identified LipidBlast species: |  |  | 2
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 0 |  | False negatives LipidBlast: |  |  | 0
Sensitivity LDA: |  |  |  |  | 50% |  | Sensitivity LDA: |  |  | 50%
Sensitivity LipidBlast |  |  |  |  | 100% |  | Sensitivity LipidBlast: |  |  | 100%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## PC
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PC | 32:0 | HCOO | 32:0 | not reported | 2 | -1 | 16:0/16:0 | 16:0/16:0 | not reported | 2 | -1 | 26.3 | 26.37
PC | 32:0_noMS2 | -CH3 | 32:0 | not reported | 0 | 0 | [5 empty] | 26.3 | 26.25 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 32:1_noMS2 | HCOO | 32:1 | not reported | 0 | 0 | [5 empty] | 24.8 | 25.37 |  |  | not counted: only MS1 identification
PC | 34:0_noMS2 | HCOO | 34:0 | not reported | 0 | 0 | [5 empty] | 28.1 | 28.10 |  |  | not counted: only MS1 identification
PC | 34:1 | HCOO | 34:1 | not reported | 2 | -1 | 16:0/18:1 | 16:0/18:1 | not reported | 2 | -1 | 26.5 | 26.62
PC | 34:2 | HCOO | 34:2 | not reported | 2 | -1 | 16:0/18:2 | 16:0/18:2 | not reported | 2 | -1 | 25.1 | 25.26
PC | 34:2 | -CH3 | 34:2 | not reported | 2 | -1 | 16:0/18:2 | 16:0/18:2 | not reported | 2 | -1 | 25.1 | 25.26 |  |  |  | TRUE | TRUE | TRUE | TRUE
PC | 34:3_noMS2 | HCOO | 34:3 | not reported | 0 | 0 | [5 empty] | 24.0 | 24.14 |  |  | not counted: only MS1 identification
PC | 35:2_noMS2 | HCOO | 35:2 | not reported | 0 | 0 | [5 empty] | 26.1 | 26.25 |  |  | not counted: only MS1 identification
PC | 35:3_noMS2 | HCOO | 35:3 | not reported | 0 | 0 | [5 empty] | 24.8 | 25.12 |  |  | not counted: only MS1 identification
PC | 36:1 | HCOO | 36:1 | 36:1 | 2 | 2 | 18:0/18:1 | 18:0/18:1 | 18:0/18:1 | 2 | 2 | 28.5 | 28.48 | 28.51497 | 5.5
PC | 36:1 | -CH3 | 36:1 | not reported | 2 | -1 | 18:0/18:1 | 18:0/18:1 | not reported | 2 | -1 | 28.5 | 28.48 |  |  |  | TRUE | TRUE | TRUE | TRUE
PC | 36:2 | HCOO | 36:2 | 36:2 | 2 | 2 | 18:0/18:2 | 18:0/18:2 | 18:0/18:2 | 2 | 2 | 27.1 | 26.98 | 26.79655 27.26605 28.16802 | 7.8
PC | 36:2 | -CH3 | 36:2 | not reported | 2 | -1 | 18:0/18:2 | 18:0/18:2 | not reported | 2 | -1 | 27.1 | 26.98 |  |  |  | TRUE | TRUE | TRUE | TRUE
PC | 36:3 | HCOO | 36:3 | 36:3 | 2 | 2 | 16:0/20:3 | 16:0/20:3 | not reported | 2 | -1 | 25.6 | 25.75
[7 empty] | 18:1/18:2 | 18:1/18:2 | 18:1/18:2 | 2 | 2 | 25.6 | 25.75 | 25.78140 | 1
PC | 36:3 | -CH3 | 36:3 | not reported | 2 | -1 | 16:0/20:3 | 16:0/20:3 | not reported | 2 | -1 | 25.6 | 25.75 |  |  |  | TRUE | TRUE | TRUE | TRUE
[7 empty] | 18:1/18:2 | 18:1/18:2 | not reported | 2 | -1 | 25.6 | 25.75 | [5 empty] | TRUE | TRUE
PC | 36:4 | HCOO | 36:4 | 36:4 | 2 | 2 | 16:0/20:4 | 16:0/20:4 | 16:0/20:4 | 2 | 2 | 24.8 | 25.01 | 25.16165 25.61537 | 15.3 |  |  | TRUE |  | TRUE
[7 empty] | 18:2/18:2 | not reported | not reported | -1 | -1 | 24.1 |  |  |  | LDA: chain cutoff
PC | 36:4 | -CH3 | 36:4 | 36:4 | 1 | 2 | 16:0/20:4 | 16:0/20:4 | 16:0/20:4 | 1 | 2 | 24.8 | 25.01 26.50 | 24.99653 | 31.6 |  | TRUE |  | TRUE
[7 empty] | 18:4/18:0_FP | 18:4/18:0 |  | -2 | 0 |  | 26.50
PC | 37:0_FP | -CH3 | 37:0 | not reported | -2 | 0 | 19:0/18:0_FP | 19:0/18:0 |  | -2 | 0 |  | 24.76
PC | 37:2_noMS2 | HCOO | 37:2 | not reported | 0 | 0 | [5 empty] | 28.0 | 28.35 |  |  | not counted: only MS1 identification
PC | 37:2_noMS2 | -CH3 | 37:2 | not reported | 0 | 0 | [5 empty] | 28.0 | 27.85 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 37:4_noMS2 | HCOO | 37:4 | not reported | 0 | 0 | [5 empty] | 25.8 | 26.00 |  |  | not counted: only MS1 identification
PC | 37:4_noMS2 | -CH3 | 37:4 | not reported | 0 | 0 | [5 empty] | 25.8 | 26.00 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 37:5_noMS2 | HCOO | 37:5 | not reported | 0 | 0 | [5 empty] | 24.1 | 23.51 |  |  | not counted: only MS1 identification
PC | 38:2 | HCOO | not reported | not reported | -1 | -1 | 18:1/20:1 | not reported | not reported | -1 | -1 |  |  |  |  | LB: the peak seems to be OK, although a little bit late; the combination is unlikely at this time point, since it usually elutes earlier than the main PC 18:0/20:2; nevertheless, I count it correct, since it has been found on the Orbitrap CID
PC | 38:3 | HCOO | 38:3 | 38:3 | 2 | 2 | 18:0/20:3 | 18:0/20:3 | 20:3/18:0 18:0/20:3 | 2 | 2 | 27.6 | 27.60 | 27.44648 27.63998 27.89010 | 20.4
PC | 38:3 | -CH3 | 38:3 | not reported | 2 | -1 | 18:0/20:3 | 18:0/20:3 | not reported | 2 | -1 | 27.6 | 27.60 |  |  |  | TRUE | TRUE | TRUE | TRUE
PC | 38:4 | HCOO | 38:4 | 38:4 | 2 | 2 | 18:0/20:4 | 18:0/20:4 | 18:0/20:4 | 2 | 2 | 26.6 | 26.73 | 26.57865 26.77240 27.04440 27.32173 | 15.1
PC | 38:4 | -CH3 | 38:4 | 38:4 | 2 | 2 | 18:0/20:4 | 18:0/20:4 | 18:0/20:4 | 2 | 2 | 26.6 | 26.73 | 27.66782 | 31.4 |  | TRUE | TRUE | TRUE | TRUE
PC | 38:5 | HCOO | 38:5 | 38:5 | 2 | 2 | 18:1/20:4 | 18:1/20:4 | 18:1/20:4 | 2 | 2 | 25.3 | 25.50 | 25.46282 25.65657 | 1.9
PC | 38:6 | HCOO | 38:6 | 38:6 | 2 | 2 | 16:0/22:6 | 16:0/22:6 | 22:6/16:0 16:0/22:6 | 2 | 2 | 24.6 | 24.64 | 24.5670 24.78862 24.5670 24.78862 | 36.5
[7 empty] | 18:2/20:4 | 18:2/20:4 | 18:2/20:4 | 2 | 2 | 24.6 | 24.64 | 24.19275 | 2.7
PC | 38:6 | -CH3 | 38:6 | 38:6 | 2 | 2 | 16:0/22:6 | 22:6/16:0 | 16:0/22:6 | 2 | 2 | 24.6 | 24.64 | 24.62270 | 54.3 |  | TRUE | TRUE | TRUE | TRUE
PC | 38:7_noMS2 | HCOO | 38:7 | not reported | 0 | 0 | [5 empty] | 23.3 | 23.39 |  |  | not counted: only MS1 identification
PC | 39:4_noMS2 | HCOO | 39:4 | not reported | 0 | 0 | [5 empty] | 27.6 | 27.60 |  |  | not counted: only MS1 identification
PC | 39:6_noMS2 | HCOO | 39:6 | not reported | 0 | 0 | [5 empty] | 25.3 | 25.50 |  |  | not counted: only MS1 identification
PC | 40:4_noMS2 | HCOO | 40:4 | not reported | 0 | 0 | [5 empty] | 28.1 | 28.60 |  |  | not counted: only MS1 identification
PC | 40:5_noMS2 | HCOO | 40:5 | not reported | 0 | 0 | [5 empty] | 27.3 | 27.10 |  |  | not counted: only MS1 identification
PC | 40:5_noMS2 | -CH3 | 40:5 | not reported | 0 | 0 | [5 empty] | 27.3 | 27.35 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 40:6 | HCOO | 40:6 | 40:6 | 2 | 2 | 18:0/22:6 | 22:6_18:0 | 22:6/18:0 18:0/22:6 | 2 | 2 | 26.1 | 26.25 | 26.15452 26.42872 26.15452 26.42872 | 41.1
PC | 40:6 | -CH3 | 40:6 | not reported | 2 | -1 | 18:0/22:6 | 22:6/18:0 | not reported | 2 | -1 | 26.1 | 26.25 |  |  |  | TRUE | TRUE | TRUE | TRUE
PC | 40:7 | HCOO | 40:7 | not reported | 2 | -1 | 18:1/22:6 | 22:6/18:1 | not reported | 2 | -1 | 24.8 | 24.89
PC | 40:7_noMS2 | -CH3 | 40:7 | not reported | 0 | 0 | [5 empty] | 24.8 | 25.01 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 40:8_noMS2 | HCOO | 40:8 | not reported | 0 | 0 | [5 empty] | 23.8 | 24.01 |  |  | not counted: only MS1 identification
PC | 42:7_noMS2 | -CH3 | 42:7 | not reported | 0 | 0 | [5 empty] | 26.5 | 26.87 |  |  | not counted: only MS1 identification
PC | 42:8_noMS2 | -CH3 | 42:8 | not reported | 0 | 0 | [5 empty] | 25.5 | 25.37 |  |  | not counted: only MS1 identification
PC | 42:10_noMS2 | HCOO | 42:10 | not reported | 0 | 0 | [5 empty] | 23.3 | 23.51 |  |  | not counted: only MS1 identification
PC | 42:10_noMS2 | -CH3 | 42:10 | not reported | 0 | 0 | [5 empty] | 23.3 | 23.51 |  |  | not counted: only MS1 identification | TRUE | TRUE
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 23 |  | Total number of identified species: |  |  | 14
Total number of identified LDA species: |  |  |  |  | 22 |  | Total number of identified LDA species: |  |  | 13
Total number of identified LipidBlast species: |  |  |  |  | 12 |  | Total number of identified LipidBlast species: |  |  | 9
False positives LDA: |  |  |  |  | 2 |  | False positives LDA: |  |  | 1
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 11 |  | False negatives LipidBlast: |  |  | 5
Sensitivity LDA: |  |  |  |  | 95.65% |  | Sensitivity LDA: |  |  | 92.86%
Sensitivity LipidBlast |  |  |  |  | 52.17% |  | Sensitivity LipidBlast: |  |  | 64.29%
Positive Predictive Value LDA: |  |  |  |  | 91.67% |  | Positive Predictive Value LDA: |  |  | 92.86%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 27 |  | Total number of identified species: |  |  | 17
Total number of identified LDA species: |  |  |  |  | 25 |  | Total number of identified LDA species: |  |  | 15
Total number of identified LipidBlast species: |  |  |  |  | 13 |  | Total number of identified LipidBlast species: |  |  | 10
False positives LDA: |  |  |  |  | 3 |  | False positives LDA: |  |  | 2
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 2 |  | False negatives LDA: |  |  | 2
False negatives LipidBlast: |  |  |  |  | 14 |  | False negatives LipidBlast: |  |  | 7
Sensitivity LDA: |  |  |  |  | 92.59% |  | Sensitivity LDA: |  |  | 88.24%
Sensitivity LipidBlast |  |  |  |  | 48.15% |  | Sensitivity LipidBlast: |  |  | 58.82%
Positive Predictive Value LDA: |  |  |  |  | 89.29% |  | Positive Predictive Value LDA: |  |  | 88.24%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## PE
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PE | 24:0 | -H | 24:0 | not reported | 2 | -1 | 12:0/12:0 | 12:0/12:0 | not reported | 2 | -1 | 17.6 | 17.69
PE | 34:1 | -H | 34:1 | not reported | 2 | -1 | 16:0/18:1 | 16:0/18:1 | not reported | 2 | -1 | 26.3 | 26.25
PE | 34:2 | -H | 34:2 | not reported | 2 | -1 | 16:0/18:2 | 18:2_16:0 | not reported | 2 | -1 | 25.0 | 25.01
PE | 34:3_noMS2 | -H | 34:3 | not reported | 0 | 0 | [5 empty] | 23.6 | 23.64 |  |  | not counted: only MS1 identification
PE | 35:2_noMS2 | -H | 35:2 | not reported | 0 | 0 | [5 empty] | 25.8 | 25.87 |  |  | not counted: only MS1 identification
PE | 36:3 | -H | 36:3 | not reported | 2 | -1 | 18:1/18:2 | 18:1/18:2 | not reported | 2 | -1 | 25.8 | 25.37
PE | 36:4 | -H | 36:4 | not reported | 2 | -1 | 16:0/20:4 | 16:0/20:4 | not reported | 2 | -1 | 24.8 | 24.89
[7 empty] | 18:2/18:2 | not reported | not reported | -1 | -1 | 24.8
PE | 36:5 | -H | not reported | not reported | -1 | -1 | 16:1/20:4 | not reported | not reported | -1 | -1 | 23.5 |  |  |  | LDA: removed by rule "PChead_168_WRONG+PChead_224_WRONG+PChead_242_WRONG+NL_PChead_60_WRONG+0*Precursor<2*(PEhead_140+PEhead_196+PEhead_214+0.001*Precursor)"
PE | 37:4_noMS2 | -H | 37:4 | not reported | 0 | 0 | [5 empty] | 25.6 | 25.75 |  |  | not counted: only MS1 identification
PE | 38:3 | -H | not reported | not reported | -1 | -1 | 18:0/20:3 | not reported | not reported | -1 | -1 | 27.1 |  |  |  | LDA: MS1 algorithm
PE | 38:4 | -H | not reported | 38:4 | -1 | 2 | 18:0/20:4 | not reported | 18:0/20:4 | -1 | 2 | 26.5 |  | 26.40415 | 16.5 | LDA: unknown reason
[7 empty] | 18:1/20:3 | not reported | not reported | -1 | -1 | 26.5 |  |  |  | LDA: unknown reason
PE | 38:5 | -H | 38:5 | not reported | 2 | -1 | 18:1/20:4 | 18:1/20:4 | not reported | 2 | -1 | 25.3 | 25.26
[7 empty] | 16:0/22:5 | not reported | not reported | -1 | -1 | 25.3 |  |  |  | LB: the spectrum at 24.4min belongs to the second isotopic peak of PE38:6; LDA: chain cutoff
PE | 38:6 | -H | 38:6 | 38:6 | 2 | 2 | 16:0/22:6 | 16:0/22:6 | not reported | 2 | -1 | 24.3 | 24.39
[7 empty] | 18:2/20:4 | 18:2/20:4 | 18:2/20:4 | 2 | 2 | 24.3 | 24.39 | 23.99875 | 2.8
[7 empty] | 21:1/17:5_FP | 21:1/17:5 |  | -2 | 0 |  | 24.39 |  |  | LDA: FP chain
PE | 39:4_noMS2 | -H | 39:4 | not reported | 0 | 0 | [5 empty] | 27.3 | 27.23 |  |  | not counted: only MS1 identification
PE | 39:6_noMS2 | -H | 39:6 | not reported | 0 | 0 | [5 empty] | 25.3 | 25.37 |  |  | not counted: only MS1 identification
PE | 40:6 | -H | 40:6 | not reported | 2 | -1 | 18:0_22:6 | 22:6/18:0 | not reported | 2 | -1 | 26.0 | 26.00
PE | 40:7 | -H | not reported | not reported | -1 | -1 | 18:1/22:6 | not reported | not reported | -1 | -1 | 24.8 |  |  |  | LDA: unknown reason
PE | 40:8 | -H | 40:8 | not reported | 2 | -1 | 18:2/22:6 | 22:6_18:2 | not reported | 2 | -1 | 23.6 | 23.51
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 13 |  | Total number of identified species: |  |  | 13
Total number of identified LDA species: |  |  |  |  | 9 |  | Total number of identified LDA species: |  |  | 9
Total number of identified LipidBlast species: |  |  |  |  | 2 |  | Total number of identified LipidBlast species: |  |  | 2
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 4 |  | False negatives LDA: |  |  | 4
False negatives LipidBlast: |  |  |  |  | 11 |  | False negatives LipidBlast: |  |  | 11
Sensitivity LDA: |  |  |  |  | 69.23% |  | Sensitivity LDA: |  |  | 69.23%
Sensitivity LipidBlast |  |  |  |  | 15.38% |  | Sensitivity LipidBlast: |  |  | 15.38%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 17 |  | Total number of identified species: |  |  | 17
Total number of identified LDA species: |  |  |  |  | 10 |  | Total number of identified LDA species: |  |  | 10
Total number of identified LipidBlast species: |  |  |  |  | 2 |  | Total number of identified LipidBlast species: |  |  | 2
False positives LDA: |  |  |  |  | 1 |  | False positives LDA: |  |  | 1
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 7 |  | False negatives LDA: |  |  | 7
False negatives LipidBlast: |  |  |  |  | 15 |  | False negatives LipidBlast: |  |  | 15
Sensitivity LDA: |  |  |  |  | 58.82% |  | Sensitivity LDA: |  |  | 58.82%
Sensitivity LipidBlast |  |  |  |  | 11.76% |  | Sensitivity LipidBlast: |  |  | 11.76%
Positive Predictive Value LDA: |  |  |  |  | 90.91% |  | Positive Predictive Value LDA: |  |  | 90.91%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## PG
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PG | 34:2 | -H | 34:2 | not reported | 2 | -1 | 16:0/18:2 | 16:0/18:2 | not reported | 2 | -1 | 23.0 | 23.14
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 1 |  | Total number of identified species: |  |  | 1
Total number of identified LDA species: |  |  |  |  | 1 |  | Total number of identified LDA species: |  |  | 1
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 0 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 1 |  | False negatives LipidBlast: |  |  | 1
Sensitivity LDA: |  |  |  |  | 100% |  | Sensitivity LDA: |  |  | 100%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 1 |  | Total number of identified species: |  |  | 1
Total number of identified LDA species: |  |  |  |  | 1 |  | Total number of identified LDA species: |  |  | 1
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 0 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 1 |  | False negatives LipidBlast: |  |  | 1
Sensitivity LDA: |  |  |  |  | 100% |  | Sensitivity LDA: |  |  | 100%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## Cer
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 0 |  | Total number of identified species: |  |  | 0
Total number of identified LDA species: |  |  |  |  | 0 |  | Total number of identified LDA species: |  |  | 0
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 0 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 0 |  | False negatives LipidBlast: |  |  | 0
Sensitivity LDA: |  |  |  |  | NA |  | Sensitivity LDA: |  |  | NA
Sensitivity LipidBlast |  |  |  |  | NA |  | Sensitivity LipidBlast: |  |  | NA
Positive Predictive Value LDA: |  |  |  |  | NA |  | Positive Predictive Value LDA: |  |  | NA
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported