## Summary
Species evaluation - every adduct is counted independently
| LDA MS1 identified |  | LBlast MS1 identified |  | LDA MS1 PPV |  | LBlast MS1 PPV |  | LDA MS2 identified |  | LBlast MS2 identified |  | LDA MS2 PPV |  | LBlast MS2 PPV
PI | 7/8 | 87.5% | 3/8 | 37.5% | 7/7 | 100% | 3/3 | 100% | 6/7 | 85.71% | 3/7 | 42.86% | 6/6 | 100% | 3/3 | 100%
P-PE | 0/2 | 0% | 0/2 | 0% | NA | NA | NA | NA | 0/2 | 0% | 0/2 | 0% | NA | NA | NA | NA
LPE | 2/2 | 100% | 0/2 | 0% | 2/2 | 100% | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
PS | 2/3 | 66.67% | 2/3 | 66.67% | 2/3 | 66.67% | 2/2 | 100% | 2/3 | 66.67% | 2/3 | 66.67% | 2/7 | 28.57% | 2/2 | 100%
PC | 21/22 | 95.45% | 14/22 | 63.64% | 21/21 | 100% | 14/14 | 100% | 25/30 | 83.33% | 15/30 | 50% | 25/27 | 92.59% | 15/15 | 100%
PE | 14/16 | 87.5% | 5/16 | 31.25% | 14/14 | 100% | 5/6 | 83.33% | 15/21 | 71.43% | 5/21 | 23.81% | 15/15 | 100% | 5/6 | 83.33%
PG | 1/2 | 50% | 1/2 | 50% | 1/4 | 25% | 1/1 | 100% | 1/2 | 50% | 0/2 | 0% | 1/1 | 50% | NA | NA
Cer | no MS/MS
Total | 47/55 | 85.45% | 25/55 | 45.45% | 47/51 | 92.16% | 25/26 | 96.15% | 49/65 | 75.38% | 25/65 | 38.46% | 49/56 | 87.5% | 25/26 | 96.15%
Species evaluation - adduct insensitive
| LDA MS1 identified |  | LBlast MS1 identified |  | LDA MS1 PPV |  | LBlast MS1 PPV |  | LDA MS2 identified |  | LBlast MS2 identified |  | LDA MS2 PPV |  | LBlast MS2 PPV
PI | 7/8 | 87.5% | 3/8 | 37.5% | 7/7 | 100% | 3/3 | 100% | 6/7 | 85.71% | 3/7 | 42.86% | 6/6 | 100% | 3/3 | 100%
P-PE | 0/2 | 0% | 0/2 | 0% | NA | NA | NA | NA | 0/2 | 0% | 0/2 | 0% | NA | NA | NA | NA
LPE | 2/2 | 100% | 0/2 | 0% | 2/2 | 100% | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
PS | 2/3 | 66.67% | 2/3 | 66.67% | 2/3 | 66.67% | 2/2 | 100% | 2/3 | 66.67% | 2/3 | 66.67% | 2/7 | 28.57% | 2/2 | 100%
PC | 13/13 | 100% | 11/13 | 84.62% | 13/13 | 100% | 11/11 | 100% | 15/19 | 78.95% | 12/19 | 63.16% | 15/17 | 88.24% | 12/12 | 100%
PE | 14/16 | 87.5% | 5/16 | 31.25% | 14/14 | 100% | 5/6 | 83.33% | 15/21 | 71.43% | 5/21 | 23.81% | 15/15 | 100% | 5/6 | 83.33%
PG | 1/2 | 50% | 1/2 | 50% | 1/4 | 25% | 1/1 | 100% | 1/2 | 50% | 0/2 | 0% | 1/1 | 50% | NA | NA
Cer | no MS/MS
Total | 39/46 | 84.78% | 22/46 | 47.83% | 39/43 | 90.7% | 22/23 | 95.65% | 39/54 | 72.22% | 22/54 | 40.74% | 39/46 | 84.78% | 22/23 | 95.65%

## PI
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PI | 34:2 | -H | 34:2 | not reported | 2 | -1 | 16:0/18:2 | 16:0/18:2 | not reported | 2 | -1 | 22.1 | 22.03
PI | 36:3 | -H | not reported | not reported | -1 | -1 | 16:0/20:3 | not reported | not reported | -1 | -1 | 22.6 |  |  |  | LDA: +1 isotopic peak is noise only
PI | 36:4 | -H | 36:4 | not reported | 2 | -1 | 16:0/20:4 | 16:0/20:4 | not reported | 2 | -1 | 22.0 | 22.03
PI | 37:4 | -H | 37:4 | 37:4 | 2 | 2 | 17:0/20:4 | 17:0/20:4 | 17:0/20:4 | 2 | 2 | 22.8 | 22.89 | 22.9288 | 16.7
PI | 38:3 | -H | 38:3 | not reported | 2 | -1 | 18:0/20:3 | 18:0/20:3 | not reported | 2 | -1 |  | 24.51
PI | 38:4 | -H | 38:4 | 38:4 | 2 | 2 | 18:0/20:4 | 18:0/20:4 | 18:0/20:4 | 2 | 2 | 23.8 | 23.76 | 23.67643 23.91562 | 16.5
PI | 38:5 | -H | 38:5 | 38:5 | 2 | 2 | 18:1/20:4 | 18:1/20:4 | 18:1/20:4 | 2 | 2 | 22.3 | 22.39 | 22.36158 | 1.9
PI | 38:6 | -H | 38:6 | not reported | 2 | -1 | [5 empty] | 21.1 | 21.05
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 8 |  | Total number of identified species: |  |  | 8
Total number of identified LDA species: |  |  |  |  | 7 |  | Total number of identified LDA species: |  |  | 7
Total number of identified LipidBlast species: |  |  |  |  | 3 |  | Total number of identified LipidBlast species: |  |  | 3
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 5 |  | False negatives LipidBlast: |  |  | 5
Sensitivity LDA: |  |  |  |  | 87.5% |  | Sensitivity LDA: |  |  | 87.5%
Sensitivity LipidBlast |  |  |  |  | 37.5% |  | Sensitivity LipidBlast: |  |  | 37.5%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 7 |  | Total number of identified species: |  |  | 7
Total number of identified LDA species: |  |  |  |  | 6 |  | Total number of identified LDA species: |  |  | 6
Total number of identified LipidBlast species: |  |  |  |  | 3 |  | Total number of identified LipidBlast species: |  |  | 3
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 4 |  | False negatives LipidBlast: |  |  | 4
Sensitivity LDA: |  |  |  |  | 85.71% |  | Sensitivity LDA: |  |  | 85.71%
Sensitivity LipidBlast |  |  |  |  | 42.86% |  | Sensitivity LipidBlast: |  |  | 42.86%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## P-PE
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
P-PE | 36:4 | -H | not reported | not reported | -1 | -1 | P-16:0/20:4 | not reported | not reported | -1 | -1 | 25.8
P-PE | 38:4 | -H | not reported | not reported | -1 | -1 | P-18:0/20:4 | not reported | not reported | -1 | -1 | 27.3
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 2 |  | Total number of identified species: |  |  | 2
Total number of identified LDA species: |  |  |  |  | 0 |  | Total number of identified LDA species: |  |  | 0
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 2 |  | False negatives LDA: |  |  | 2
False negatives LipidBlast: |  |  |  |  | 2 |  | False negatives LipidBlast: |  |  | 2
Sensitivity LDA: |  |  |  |  | 0% |  | Sensitivity LDA: |  |  | 0%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | NA |  | Positive Predictive Value LDA: |  |  | NA
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 2 |  | Total number of identified species: |  |  | 2
Total number of identified LDA species: |  |  |  |  | 0 |  | Total number of identified LDA species: |  |  | 0
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 2 |  | False negatives LDA: |  |  | 2
False negatives LipidBlast: |  |  |  |  | 2 |  | False negatives LipidBlast: |  |  | 2
Sensitivity LDA: |  |  |  |  | 0% |  | Sensitivity LDA: |  |  | 0%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | NA |  | Positive Predictive Value LDA: |  |  | NA
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## LPE
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore
LPE | 16:0 | -H | 16:0 | not reported | 2 | -1 | 7.5 | 7.76
LPE | 18:0 | -H | 18:0 | not reported | 2 | -1 | 11.0 | 11.19
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 2 |  | Total number of identified species: |  |  | 2
Total number of identified LDA species: |  |  |  |  | 2 |  | Total number of identified LDA species: |  |  | 2
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 0 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 2 |  | False negatives LipidBlast: |  |  | 2
Sensitivity LDA: |  |  |  |  | 100% |  | Sensitivity LDA: |  |  | 100%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## PS
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PS | 38:4 | -H | 38:4 | 38:4 | 2 | 2 | 18:0/20:4 | 18:0/20:4 | 18:0/20:4 | 2 | 2 | 24.3 | 24.14 | 24.16518 | 16.5
PS | 38:6 | -H | not reported | not reported | -1 | -1 | 16:0/22:6 | not reported | not reported | -1 | -1 | 22.3 |  |  |  | LDA: mandatory precursor not found
PS | 38:7_FP | -H | 38:7 | not reported | -2 | 0 | 25:6/13:1_FP | 25:6/13:1 |  | -2 | 0 |  | 26.60
[7 empty] | 16:1/22:6_FP | 16:1/22:6 |  | -2 | 0 |  | 26.60
[7 empty] | 23:2/15:5_FP | 23:2/15:5 |  | -2 | 0 |  | 26.60
[7 empty] | 21:6/17:1_FP | 21:6/17:1 |  | -2 | 0 |  | 26.60
PS | 40:6 | -H | 40:6 | 40:6 | 2 | 2 | 18:0/22:6 | 18:0/22:6 | 22:6/18:0 18:0/22:6 | 2 | 2 | 24.1 | 23.89 | 23.73207 24.04045 23.73207 24.04045 | 50
[7 empty] | 28:2/12:4_FP | 28:2/12:4 |  | -2 | 0 |  | 23.89
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 3 |  | Total number of identified species: |  |  | 3
Total number of identified LDA species: |  |  |  |  | 2 |  | Total number of identified LDA species: |  |  | 2
Total number of identified LipidBlast species: |  |  |  |  | 2 |  | Total number of identified LipidBlast species: |  |  | 2
False positives LDA: |  |  |  |  | 1 |  | False positives LDA: |  |  | 1
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 1 |  | False negatives LipidBlast: |  |  | 1
Sensitivity LDA: |  |  |  |  | 66.67% |  | Sensitivity LDA: |  |  | 66.67%
Sensitivity LipidBlast |  |  |  |  | 66.67% |  | Sensitivity LipidBlast: |  |  | 66.67%
Positive Predictive Value LDA: |  |  |  |  | 66.67% |  | Positive Predictive Value LDA: |  |  | 66.67%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 3 |  | Total number of identified species: |  |  | 3
Total number of identified LDA species: |  |  |  |  | 2 |  | Total number of identified LDA species: |  |  | 2
Total number of identified LipidBlast species: |  |  |  |  | 2 |  | Total number of identified LipidBlast species: |  |  | 2
False positives LDA: |  |  |  |  | 5 |  | False positives LDA: |  |  | 5
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 1 |  | False negatives LipidBlast: |  |  | 1
Sensitivity LDA: |  |  |  |  | 66.67% |  | Sensitivity LDA: |  |  | 66.67%
Sensitivity LipidBlast |  |  |  |  | 66.67% |  | Sensitivity LipidBlast: |  |  | 66.67%
Positive Predictive Value LDA: |  |  |  |  | 28.57% |  | Positive Predictive Value LDA: |  |  | 28.57%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## PC
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PC | 34:1 | HCOO | 34:1 | not reported | 2 | -1 | 16:0/18:1 | 16:0/18:1 | not reported | 2 | -1 | 26.5 | 26.60
PC | 34:1_noMS2 | -CH3 | 34:1 | not reported | 0 | 0 | [5 empty] | 26.5 | 26.71 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 34:2 | HCOO | 34:2 | 34:2 | 2 | 2 | 16:0/18:2 | 16:0/18:2 | 16:0/18:2 | 2 | 2 | 25.1 | 25.23 | 26.16382 | 8.1
PC | 34:2 | -CH3 | 34:2 | not reported | 2 | -1 | 16:0/18:2 | 16:0/18:2 | not reported | 2 | -1 | 25.1 | 25.23 |  |  |  | TRUE | TRUE | TRUE | TRUE
PC | 34:3_noMS2 | HCOO | 34:3 | not reported | 0 | 0 | [5 empty] | 24.0 | 24.01 |  |  | not counted: only MS1 identification
PC | 35:1_noMS2 | HCOO | 35:1 | not reported | 0 | 0 | [5 empty] | 27.5 | 27.32 |  |  | not counted: only MS1 identification
PC | 35:2_noMS2 | HCOO | 35:2 | not reported | 0 | 0 | [5 empty] | 26.1 | 26.23 |  |  | not counted: only MS1 identification
PC | 35:2_noMS2 | -CH3 | 35:2 | not reported | 0 | 0 | [5 empty] | 26.1 | 26.23 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 36:1 | HCOO | 36:1 | 36:1 | 2 | 2 | 18:0/18:1 | 18:0/18:1 | 18:0/18:1 | 2 | 2 | 28.5 | 28.44 | 28.35227 28.60202 28.85162 | 5.5
PC | 36:1 | -CH3 | 36:1 | not reported | 2 | -1 | 18:0/18:1 | 18:0/18:1 | not reported | 2 | -1 | 28.5 | 28.44 |  |  |  | TRUE | TRUE | TRUE | TRUE
PC | 36:2 | HCOO | 36:2 | 36:2 | 2 | 2 | 18:0/18:2 | 18:0/18:2 | 18:0/18:2 | 2 | 2 | 27.1 | 27.08
PC | 36:2 | -CH3 | 36:2 | not reported | 2 | -1 | 18:0/18:2 | 18:0/18:2 | not reported | 2 | -1 | 27.1 | 27.08 |  |  |  | TRUE | TRUE | TRUE | TRUE
PC | 36:3 | HCOO | 36:3 | 36:3 | 2 | 2 | 16:0/20:3 | 16:0/20:3 | not reported | 2 | -1 | 25.6 | 25.73
[7 empty] | 18:1/18:2 | 18:1/18:2 | 18:1/18:2 | 2 | 2 | 25.6 | 25.73 | 25.51843 25.76358 | 1
PC | 36:3 | -CH3 | 36:3 | not reported | 2 | -1 | 16:0/20:3 | 16:0/20:3 | not reported | 2 | -1 | 25.6 | 25.73 |  |  |  | TRUE | TRUE | TRUE | TRUE
[7 empty] | 18:1/18:2 | 18:1/18:2 | not reported | 2 | -1 | 25.6 | 25.73 | [5 empty] | TRUE | TRUE
PC | 36:4 | HCOO | 36:4 | not reported | 2 | -1 | 16:0/20:4 | 16:0/20:4 | not reported | 2 | -1 | 24.8 | 25.00 |  |  |  |  | TRUE |  | TRUE
[7 empty] | 18:2/18:2 | not reported | not reported | -1 | -1 | 24.1 |  |  |  | LDA: the spectrum is outside the MS1 peak borders
PC | 36:4 | -CH3 | 36:4 | 36:4 | 2 | 2 | 16:0/20:4 | 16:0/20:4 | 16:0/20:4 | 2 | 2 | 24.8 | 25.12 | 24.98927 | 32.7 |  | TRUE |  | TRUE
PC | 37:2_noMS2 | HCOO | 37:2 | not reported | 0 | 0 | [5 empty] | 28.0 | 28.07 |  |  | not counted: only MS1 identification
PC | 37:4 | HCOO | 37:4 | not reported | 2 | -1 | 17:0/20:4 | 20:4_17:0 | not reported | 2 | -1 | 25.8 | 25.98
PC | 38:2 | HCOO | 38:2 | 38:2 | 2 | 2 | 18:0/20:2 | 18:0/20:2 | 18:0/20:2 20:2/18:0 | 2 | 2 | 28.6 | 28.82 | 28.87943 28.87943 | 16.5
[7 empty] | 20:0/18:2 | not reported | not reported | -1 | -1 | 28.6 |  |  |  | LDA: spectrum is outside the peak borders
[7 empty] | 19:2_19:0_FP | 19:2_19:0 |  | -2 | 0 |  | 28.82 |  |  | LDA: FP - not detected on any other platform
[7 empty] | 16:1/22:1_FP | 16:1/22:1 |  | -2 | 0 |  | 28.82 |  |  | LDA: FP - not detected on any other platform
PC | 38:3 | HCOO | 38:3 | 38:3 | 2 | 2 | 18:0/20:3 | 18:0/20:3 | 20:3/18:0 18:0/20:3 | 2 | 2 | 27.6 | 27.57 | 27.54002 27.54002 | 21.9
PC | 38:3 | -CH3 | 38:3 | not reported | 2 | -1 | 18:0/20:3 | 18:0/20:3 | not reported | 2 | -1 | 27.6 | 27.69 |  |  |  | TRUE | TRUE | TRUE | TRUE
PC | 38:4 | HCOO | 38:4 | 38:4 | 2 | 2 | 18:0/20:4 | 18:0/20:4 | 18:0/20:4 | 2 | 2 | 26.6 | 26.71 |  |  |  |  | TRUE |  | TRUE
PC | 38:4 | -CH3 | 38:4 | 38:4 | 2 | 2 | 18:0/20:4 | 18:0/20:4 | 18:0/20:4 | 2 | 2 | 26.6 | 26.71 | 26.74403 27.01647 27.29113 | 32.4 |  | TRUE |  | TRUE
PC | 38:5 | HCOO | 38:5 | 38:5 | 2 | 2 | 18:1/20:4 | 18:1/20:4 | 18:1/20:4 | 2 | 2 | 25.3 | 25.48 | 25.4493 | 1.9
[7 empty] | 16:0/22:5 | not reported | not reported | -1 | -1 | 25.3 |  |  |  | LDA: chain cutoff
PC | 38:6 | HCOO | 38:6 | 38:6 | 2 | 2 | 16:0/22:6 | 22:6_16:0 | 22:6/16:0 16:0/22:6 | 2 | 2 | 24.6 | 24.64 | 24.53940 24.53940 | 34
[7 empty] | 18:2/20:4 | 18:2/20:4 | not reported | 2 | -1 | 24.6 | 24.64 | [6 empty] | TRUE
PC | 38:6 | -CH3 | 38:6 | 38:6 | 2 | 2 | 16:0/22:6 | 22:6/16:0 | 16:0/22:6 | 2 | 2 | 24.6 | 24.64 | 24.59485 24.7190 | 74.8 |  | TRUE | TRUE | TRUE | TRUE
[7 empty] | 18:2/20:4 | 18:2/20:4 | 18:2/20:4 | 2 | 2 | 24.6 | 24.64 | 24.34568 | 5.4 |  |  |  | TRUE
PC | 40:4_noMS2 | -CH3 | 40:4 | not reported | 0 | 0 | [5 empty] | 28.1 | 28.32 |  |  | not counted: only MS1 identification
PC | 40:5_noMS2 | -CH3 | 40:5 | not reported | 0 | 0 | [5 empty] | 27.3 | 27.69 |  |  | not counted: only MS1 identification
PC | 40:6 | HCOO | 40:6 | 40:6 | 2 | 2 | 18:0/22:6 | 22:6_18:0 | 22:6/18:0 18:0/22:6 | 2 | 2 | 26.1 | 26.23 | 26.13597 26.37745 26.13597 26.37745 | 40.2
[7 empty] | 20:2/20:4 | not reported | not reported | -1 | -1 | 26.1 |  |  |  | LB10: there are whether any 20:2 nor any 20:4 fragments detectable, but since it was found on other platforms, I assume it is correct
PC | 40:6 | -CH3 | not reported | 40:6 | -1 | 2 | 18:0/22:6 | not reported | 18:0/22:6 | -1 | 2 | 26.1 |  | 26.28103 | 95.3 |  | TRUE | TRUE | TRUE | TRUE
PC | 40:7_noMS2 | HCOO | 40:7 | not reported | 0 | 0 | [5 empty] | 24.8 | 24.87 |  |  | not counted: only MS1 identification
PC | 40:7_noMS2 | -CH3 | 40:7 | not reported | 0 | 0 | [5 empty] | 24.8 | 25.00 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 40:8_noMS2 | HCOO | 40:8 | not reported | 0 | 0 | [5 empty] | 23.8 | 24.01 |  |  | not counted: only MS1 identification
PC | 40:8_noMS2 | -CH3 | 40:8 | not reported | 0 | 0 | [5 empty] | 23.8 | 23.89 |  |  | not counted: only MS1 identification | TRUE | TRUE
PC | 42:7_noMS2 | -CH3 | 42:7 | not reported | 0 | 0 | [5 empty] | 26.5 | 26.96 |  |  | not counted: only MS1 identification
PC | 42:9_noMS2 | -CH3 | 42:9 | not reported | 0 | 0 | [5 empty] | 24.1 | 24.64 |  |  | not counted: only MS1 identification
PC | 42:10_noMS2 | HCOO | 42:10 | not reported | 0 | 0 | [5 empty] | 23.3 | 23.51 |  |  | not counted: only MS1 identification
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 22 |  | Total number of identified species: |  |  | 13
Total number of identified LDA species: |  |  |  |  | 21 |  | Total number of identified LDA species: |  |  | 13
Total number of identified LipidBlast species: |  |  |  |  | 14 |  | Total number of identified LipidBlast species: |  |  | 11
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 8 |  | False negatives LipidBlast: |  |  | 2
Sensitivity LDA: |  |  |  |  | 95.45% |  | Sensitivity LDA: |  |  | 100%
Sensitivity LipidBlast |  |  |  |  | 63.64% |  | Sensitivity LipidBlast: |  |  | 84.62%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 30 |  | Total number of identified species: |  |  | 19
Total number of identified LDA species: |  |  |  |  | 25 |  | Total number of identified LDA species: |  |  | 15
Total number of identified LipidBlast species: |  |  |  |  | 15 |  | Total number of identified LipidBlast species: |  |  | 12
False positives LDA: |  |  |  |  | 2 |  | False positives LDA: |  |  | 2
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 5 |  | False negatives LDA: |  |  | 4
False negatives LipidBlast: |  |  |  |  | 15 |  | False negatives LipidBlast: |  |  | 7
Sensitivity LDA: |  |  |  |  | 83.33% |  | Sensitivity LDA: |  |  | 78.95%
Sensitivity LipidBlast |  |  |  |  | 50% |  | Sensitivity LipidBlast: |  |  | 63.16%
Positive Predictive Value LDA: |  |  |  |  | 92.59% |  | Positive Predictive Value LDA: |  |  | 88.24%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## PE
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PE | 24:0 | -H | 24:0 | not reported | 2 | -1 | 12:0/12:0 | 12:0/12:0 | not reported | 2 | -1 | 17.6 | 17.71
PE | 34:0_noMS2 | -H | 34:0 | not reported | 0 | 0 | [5 empty] | 27.6 | 27.46 |  |  | not counted: only MS1 identification
PE | 34:1 | -H | 34:1 | not reported | 2 | -1 | 16:0/18:1 | 16:0/18:1 | not reported | 2 | -1 | 26.3 | 26.35
PE | 34:2 | -H | 34:2 | not reported | 2 | -1 | 16:0/18:2 | 16:0/18:2 | not reported | 2 | -1 | 25.0 | 25.00
PE | 34:3_noMS2 | -H | 34:3 | not reported | 0 | 0 | [5 empty] | 23.6 | 23.64 |  |  | not counted: only MS1 identification
PE | 35:2_noMS2 | -H | 35:2 | not reported | 0 | 0 | [5 empty] | 25.8 | 25.85 |  |  | not counted: only MS1 identification
PE | 36:1 | -H | 36:1 | not reported | 2 | -1 | 18:0/18:1 | 18:1_18:0 | not reported | 2 | -1 | 27.8 | 27.82
PE | 36:2 | -H | 36:2 | not reported | 2 | -1 | 18:0/18:2 | 18:0/18:2 | not reported | 2 | -1 | 26.8 | 26.60
PE | 36:3 | -H | 36:3 | not reported | 2 | -1 | 18:1/18:2 | 18:2_18:1 | not reported | 2 | -1 | 25.8 | 25.37
PE | 36:4 | -H | 36:4 | not reported | 2 | -1 | 16:0/20:4 | 16:0/20:4 | not reported | 2 | -1 | 24.8 | 24.87
[7 empty] | 18:2/18:2 | 18:2/18:2 | not reported | 2 | -1 | 24.8 | 24.87
PE | 36:5 | -H | 36:5 | not reported | 2 | -1 | 16:1/20:4 | not reported | not reported | -1 | -1 | 23.5 |  |  |  | LDA: the peak containing 16:1/20:4 was removed by head rules
[7 empty] | 18:3/18:2 | 18:3/18:2 | not reported | 2 | -1 |  | 22.64
PE | 36:6_noMS2 | -H | 36:6 | not reported | 0 | 0 | [5 empty] | 22.5 | 22.64 |  |  | not counted: only MS1 identification
PE | 37:4_noMS2 | -H | 37:4 | not reported | 0 | 0 | [5 empty] | 25.6 | 25.73 |  |  | not counted: only MS1 identification
PE | 37:6_noMS2 | -H | 37:6 | not reported | 0 | 0 | [5 empty] | 23.3 | 23.89 |  |  | not counted: only MS1 identification
PE | 38:3 | -H | not reported | not reported | -1 | -1 | 18:0/20:3 | not reported | not reported | -1 | -1 | 27.1
PE | 38:4 | -H | 38:4 | 38:4 | 2 | 2 | 18:0/20:4 | 18:0/20:4 | 18:0/20:4 | 2 | 2 | 26.5 | 26.46 | 26.40527 | 16.5
[7 empty] | 18:1/20:3 | not reported | not reported | -1 | -1 | 26.5 |  |  |  | LDA: chain cutoff
PE | 38:5 | -H | 38:5 | 38:5 | 2 | 2 | 18:1/20:4 | 18:1/20:4 | 18:1/20:4 | 2 | 2 | 25.3 | 25.23 | 25.27073 | 1.9
[7 empty] | 16:0/22:5 | not reported | not reported | -1 | -1 | 25.3 |  |  |  | LDA: chain cutoff
PE | 38:6 | -H | 38:6 | 38:6 | 2 | 2 | 16:0/22:6 | 16:0/22:6 | 22:6/16:0 16:0/22:6 | 2 | 2 | 24.3 | 24.39 | 24.41465 24.41465 | 44.1
[7 empty] | 18:2/20:4 | not reported | not reported | -1 | -1 | 24.3 |  |  |  | LDA: chain cutoff
PE | 38:7 | -H | 38:7 | 38:7 | 2 | 2 | 16:1/22:6 | 22:6_16:1 | 16:1/22:6 22:6/16:1 | 2 | 2 | 23.1 | 23.14 | 23.10908 23.10908 | 23
PE | 39:6_noMS2 | -H | 39:6 | not reported | 0 | 0 | [5 empty] | 25.3 | 25.23 |  |  | not counted: only MS1 identification
PE | 40:6 | -H | 40:6 | 40:6 | 2 | 1 | 18:0_22:6 | 18:0/22:6 | 22:6/18:0 18:0/22:6 | 2 | 1 | 26.0 | 25.98 | 24.59485 26.01322 24.59485 26.01322 | 47.3 | LB: the spectrum before 25min belongs to the second isotopic peak of PE40:7
PE | 40:7 | -H | 40:7 | not reported | 2 | -1 | 18:1/22:6 | 18:1/22:6 | not reported | 2 | -1 | 24.8 | 24.76
PE | 40:8 | -H | not reported | not reported | -1 | -1 | 18:2/22:6 | not reported | not reported | -1 | -1 | 23.6 |  |  |  | LDA: unknown reason - seems to be MS1 algorithm
PE | 40:9_noMS2 | -H | 40:9 | not reported | 0 | 0 | [5 empty] | 22.6 | 22.39 |  |  | not counted: only MS1 identification
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 16 |  | Total number of identified species: |  |  | 16
Total number of identified LDA species: |  |  |  |  | 14 |  | Total number of identified LDA species: |  |  | 14
Total number of identified LipidBlast species: |  |  |  |  | 5 |  | Total number of identified LipidBlast species: |  |  | 5
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 1 |  | False positives LipidBlast: |  |  | 1
False negatives LDA: |  |  |  |  | 2 |  | False negatives LDA: |  |  | 2
False negatives LipidBlast: |  |  |  |  | 11 |  | False negatives LipidBlast: |  |  | 11
Sensitivity LDA: |  |  |  |  | 87.5% |  | Sensitivity LDA: |  |  | 87.5%
Sensitivity LipidBlast |  |  |  |  | 31.25% |  | Sensitivity LipidBlast: |  |  | 31.25%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 83.33% |  | Positive Predictive Value LipidBlast: |  |  | 83.33%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 21 |  | Total number of identified species: |  |  | 21
Total number of identified LDA species: |  |  |  |  | 15 |  | Total number of identified LDA species: |  |  | 15
Total number of identified LipidBlast species: |  |  |  |  | 5 |  | Total number of identified LipidBlast species: |  |  | 5
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 1 |  | False positives LipidBlast: |  |  | 1
False negatives LDA: |  |  |  |  | 6 |  | False negatives LDA: |  |  | 6
False negatives LipidBlast: |  |  |  |  | 16 |  | False negatives LipidBlast: |  |  | 16
Sensitivity LDA: |  |  |  |  | 71.43% |  | Sensitivity LDA: |  |  | 71.43%
Sensitivity LipidBlast |  |  |  |  | 23.81% |  | Sensitivity LipidBlast: |  |  | 23.81%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | 83.33% |  | Positive Predictive Value LipidBlast: |  |  | 83.33%
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## PG
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | Structure | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore | LDAMS2-Ignore | LBMS2-Ignore
PG | 34:2 | -H | 34:2 | not reported | 2 | -1 | 16:0/18:2 | 16:0/18:2 | not reported | 2 | -1 | 23.0 | 23.14
PG | 38:3_FP | -H | 38:3 | not reported | -2 | 0 | [9 empty] | LDA: FP orange -wrongly shared with PG 39:10
PG | 38:4_FP | -H | 38:4 | not reported | -2 | 0 | [9 empty] | LDA: retention time impossible
PG | 39:10_FP | -H | 39:10 | not reported | -2 | 0
PG | 40:8 | -H | not reported | 40:8 | -1 | 2 | 18:2/22:6 | not reported | not reported | -1 | -1
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 2 |  | Total number of identified species: |  |  | 2
Total number of identified LDA species: |  |  |  |  | 1 |  | Total number of identified LDA species: |  |  | 1
Total number of identified LipidBlast species: |  |  |  |  | 1 |  | Total number of identified LipidBlast species: |  |  | 1
False positives LDA: |  |  |  |  | 3 |  | False positives LDA: |  |  | 3
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 1 |  | False negatives LipidBlast: |  |  | 1
Sensitivity LDA: |  |  |  |  | 50% |  | Sensitivity LDA: |  |  | 50%
Sensitivity LipidBlast |  |  |  |  | 50% |  | Sensitivity LipidBlast: |  |  | 50%
Positive Predictive Value LDA: |  |  |  |  | 25% |  | Positive Predictive Value LDA: |  |  | 25%
Positive Predictive Value LipidBlast: |  |  |  |  | 100% |  | Positive Predictive Value LipidBlast: |  |  | 100%
Molecular species/structure evaluation | [6 empty] | Molecular species/structure evaluation - adduct insensitive:
Total number of identified species: |  |  |  |  | 2 |  | Total number of identified species: |  |  | 2
Total number of identified LDA species: |  |  |  |  | 1 |  | Total number of identified LDA species: |  |  | 1
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 0 |  | False positives LDA: |  |  | 0
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 1 |  | False negatives LDA: |  |  | 1
False negatives LipidBlast: |  |  |  |  | 2 |  | False negatives LipidBlast: |  |  | 2
Sensitivity LDA: |  |  |  |  | 50% |  | Sensitivity LDA: |  |  | 50%
Sensitivity LipidBlast |  |  |  |  | 0% |  | Sensitivity LipidBlast: |  |  | 0%
Positive Predictive Value LDA: |  |  |  |  | 100% |  | Positive Predictive Value LDA: |  |  | 100%
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported

## Cer
Class | Name | Adduct | LDA | LipidBlast | LDA-Code | LB-Code | RT-ideal | RT-LDA | RT-LB | LB-Prob | Comment | LDAMS1-Ignore | LBMS1-Ignore
Cer | 29:5_FP | -H | 29:5 | not reported | -2 | 0
Species evaluation | [6 empty] | Species evaluation - adduct insensitive
Total number of identified species: |  |  |  |  | 0 |  | Total number of identified species: |  |  | 0
Total number of identified LDA species: |  |  |  |  | 0 |  | Total number of identified LDA species: |  |  | 0
Total number of identified LipidBlast species: |  |  |  |  | 0 |  | Total number of identified LipidBlast species: |  |  | 0
False positives LDA: |  |  |  |  | 1 |  | False positives LDA: |  |  | 1
False positives LipidBlast: |  |  |  |  | 0 |  | False positives LipidBlast: |  |  | 0
False negatives LDA: |  |  |  |  | 0 |  | False negatives LDA: |  |  | 0
False negatives LipidBlast: |  |  |  |  | 0 |  | False negatives LipidBlast: |  |  | 0
Sensitivity LDA: |  |  |  |  | NA |  | Sensitivity LDA: |  |  | NA
Sensitivity LipidBlast |  |  |  |  | NA |  | Sensitivity LipidBlast: |  |  | NA
Positive Predictive Value LDA: |  |  |  |  | 0% |  | Positive Predictive Value LDA: |  |  | 0%
Positive Predictive Value LipidBlast: |  |  |  |  | NA |  | Positive Predictive Value LipidBlast: |  |  | NA
Legend:
the name is green if the species is correct
the name is red if it is a false positive
the LDA/LipidBLAST columns are green, if the hit was found
the LDA/LipidBLAST column are cyan, if the hit was found additionally at a wrong RT
the LDA/LipidBLAST column are orange, if the hit was found only at a wrong RT
the LDA/LipidBLAST column are red, if the hit was not reported at all or if the hit is an FP
Identification Codes:
2: correctly identified without any FPs
1: correct hit found, but FPs at wrong retention times are reported
0: identified only by MS1, or FP not detected
-1: false negative hit
-2: false positive hit
-3: false negative and false positive hit, e.g., hit at correct RT not found, but something at wrong RT reported